BM1301 – BIO-CONTROL SYSTEMS

NOTES ON LESSON

Introduction to Control

A control system is a dynamical system that affects the behaviour of another system. Examples of control systems can be found all around, and in fact there are very few mechanical or electro-mechanical systems that do not include some kind of a feedback control device. In robotics, control design algorithms are responsible for the motion of the manipulators. In flight applications, control algorithms are designed for stabilization, altitude regulation and disturbance rejection. Cruise control is an interesting application in which the automobile's speed is set at a fixed value. In electronic amplifiers feedback is used to reduce the damaging influence of external noise. In addition, these days control systems can be found in diverse fields ranging from semiconductor manufacturing to environmental regulation. 

This course is intended to present you with the basic principles and techniques for the design of feedback control systems. At this point in your study you have mastered the prerequisite topics such as dynamics and the basic mathematical tools that are needed for their analysis. Control system design relies on your knowledge in these fields but also requires additional skills in system interfacing. As you will see from this course, from further electives, or from future experience, the design of feedback control systems depends on 

1. Knowledge of basic engineering principles such as dynamics, fluid mechanics, thermal science, electrical and electronic circuits, and materials. These tools are imoprtant, as we will soon see, for designing mathematical models of systems. In addition, thorough understanding of the underlying physics is very valuable in determining the most suitable control algorithms and hardware. 

2. Knowledge of mathematical tools. In control system design, extensive use is made of matrices and differential equations, and therefore, you should be very comfortable with such concepts. Laplace transforms and complex variables are also used in control applications. 

3. Knowledge of simulation techniques. System simulation is essential for verifying the accuracy of the model and for verifying that the final control design meets the desired specifications. In this course we will use the software Matlab to perform control design simulations. 

4. Knowledge of contol design methodologies, and the basic capabilities and limitations of each control methodology. This aspect of the control design procedure will be the main goal of this course. 

5. Knowledge of control hardware such as the different commercially available sensors and actuators. We will cover this part briefly in this course. 

6. Knowledge of control software for data acquisition and for the implementation of control algorithms. 

Before we go on discussing the technical aspects of feedback control, we will give a very short outline of its historical beginnings. The use of feedback mechanisms can be traced back to devices that were invented by the Greeks such as liquid level control mechanisms. Early work on the mathematical aspects of feedback and control was initiated by the physicist Maxwell who developed a technique for determining whether or not systems which are governed by linear differential equations are stable. Other prominent mathematicians and physicists, such as Routh and Lyapunov, contributed greatly to the study of stability theory. Their results now form much of the backbone for control design. 


The study of electronic feedback amplifiers provided the impetus for much of the progress of control design during the first part of the 20th century. The work of Nyquist (1932) and Bode (1945) used mathematical methods based on complex analysis for the analysis of the stability and performance of electronic amplifiers. These techniques are still in use in many technological applications as we will see in this course. Such complex analytic methods are currently called classical control techniques. 

During the second world war, advances in control design centered around the use of stochastic analysis techniques to model noise and the development of new methods for filtering and estimation. The MIT mathematician N. Wiener was very influential in this development. Also during that period, research at MIT Radiation Laboratory gave rise to more systematic design methods for servomechanisms. 

During the 1950's a different approach to the analysis and design of control systems was developed. This approach concentrated on differential equations and dynamical systems as opposed to complex analytic methods. One advantage of this approach is that it is intimately related to, physical modeling and can be viewed as a continuation to the methods of analytical mechanics. In addition, it provided a computationally attractive methodology for both analysis and design of control systems. Work by Kalman in the USA and Pontryagin in the USSR laid the foundation to what is currently called modern control. 

Recently, research aiming at providing reliable and robust control design algorithms resulted in a combination of complex analytic methods and dynamical systems methods. These recent approaches utilize the best features of each method. In this course we will develop techniques that are based on each one of these approaches. At that point it will become clearer what the relative merits are of these two approaches. 

The system (or process) that we will consider consists of a tank that contains oil. The tank sits on a heater which supplies energy to the oil. The energy supplied by the heater depends on the input voltage to the heater which is controlled by a knob. Please refer to Figure 1 for a sketch of this thermal system. 

[image: image1.jpg]Heater Voltage Knob Tank

elechanica.com

Heater





Figure 1: The oil, tank and heater system.

In this application we are interested in regulating the oil temperature. The system can be represented by a block diagram as shown in Figure 2. The input to the system is the voltage to the heater or knob position, whereas the output of the system is the oil temperature. 

[image: image2.jpg]Voltage
(Knob position) Temp.





Figure 2: Block diagram of the oil, tank and heater system.

Let us suppose that this process is in a factory and a worker adjusts the voltage knob to set the oil temperature at a desired value determined by his boss. The boss decides the desired temperature based on the factory requirements. The worker uses a lookup table to position the knob. The table contains knob positions and the corresponding values of steady state temperature (we mean by steady state the final value since it takes some time to heat the oil to the desired temperature). An experiment was performed in the past to obtain the lookup table. The knob was adjusted at the different positions and the corresponding values of temperature were measured by a temperature sensor such as a thermometer or a thermocouple. See Figure 3. 

[image: image3.jpg]Boss

temp. N

Knob_| Temp
T 20
7 %5
B 30
0 | 70

Lookup Table

orker

elechanica.com

Knob=6





Figure 3: Open loop control of the oil temperature. Note that there is no device to measure the oil temperature.

The situation in Figure 3 can be represented by a block diagram as shown in Figure 4. The boss decides the desired temperature which he tells the worker to adjust. Therefore, the input to the worker is the desired temperature. The worker uses the lookup table to select the knob position. If everything is OK the oil temperature should go to a value close to the desired value. The actual oil temperature will usually be different from the desired value due environmental and operating condition changes. The worker does not know the final temperature since there is no sensor to provide the temperature measurement. The worker just adjusts the knob once and he hopes that the temperature will go to the desired value. This is called an open loop system. In this kind of system the output (temperature here) is controlled directly using an actuating device (human worker here) without measuring this output. 

[image: image4.jpg]Desired
Temp.

»

Worker

» Temp.





Figure 4: Block diagram representation of the open loop system.

The boss would like to have the oil temperature more accurate, that is, the oil temperature should be very close to the desired value. He buys a thermometer (temperature sensor) so that the worker could read the oil temperature and thus adjusts the knob appropriately to make the temperature as close as possible to the desired value. If the measured tempearture is less than the desired one he will raise the knob, otherwise he will lower it. He keeps doing this until the desired value of temperature is achieved. The worker is able to do a better job because he has a sensor or feedback information about the oil temperature. In this case we have a closed loop system. 

[image: image5.jpg]Knob | Temp
T 50
il 55
£l 30
0 | 70

Itless than 50 raise the knob.
Otherwise lower ihe knob. Keep
adjusting unl iemp = 50.

elechanica.com

Thermometer
for temp.
measurement






Figure 5: Closed loop control of the oil temperature. Note that there is a thermometer to measure the oil temperature.

The situation in Figure 5 can be represented by a block diagram as shown in Figure 6. The boss decides the desired temperature which he tells the worker to adjust. The worker uses the desired and measured temperatures to calculate the error=desired-measured. If the error is positive he raises the knob, otherwise he lowers it. He repeats this procesdure until the error is zero, i.e., desired temp. = measured temp. Note that the lookup table is unnecessary in the closed loop case. Nevertheless, the lookup table gives the worker the initial guess for the knob position depending on the desired temperature and then he makes the appropriate changes to take the error to zero. 

[image: image6.jpg]Desired
Temp. 4+

error

error
» Worker

Desired - Measured

Thermometer |

Measured Temp.

and eye

» Temp.





Figure 6: Block diagram representation of the closed loop (feedback) system.

In the above example the controller was a human (worker). The controller is the part of the system that makes decisions based on an objective. The objective in the thermal system was to achieve the desired value of oil temperature. This was done by making the difference between the desired and measured values of temperature equal to zero. The human could be replaced by an electronic circuit, computer or a mechanical controller. We used a thermometer for the tempearture measurement. A thermocouple which converts temperature to voltage could be used for the electronic circuit or computer controller. No sensor is needed for the mechanical controller. The relationship between pressure and temperature could be used to design a mechanism for moving the knob up and down to achieve the desired value of tempearature. 

Modeling of Systems

The first step in control design is the development of a mathematical model for the process or system under consideration. In the modeling of systems, we assume a cause and effect relationship described by the simple input/output diagram below. An input is applied to a system, and the system processes it to produce an output. In general, a system has the three basic components listed below. 

1. Inputs: These represent the variables under the designer's disposal. The designer produces these signals directly and applies them to the system under consideration. For example, the voltage source to a motor and the external torque input to a robotic manipulator both represent inputs. Systems may have single or multiple inputs. 

2. Outputs: These represent the variables which the designer ultimately wants to control and that can be measured by the designer. For example, in a flight control application an output may be the altitude of the aircraft, and in automobile cruise control the output is the speed of the vehicle. 

3. System or Plant: This represents the dynamics of a physical process which relate the input and output signals. For example, in automobile cruise control, the output is the vehicle speed, the input is the supply of gasoline, and the system itself is the automobile. Similarly, an air conditioning system regulates the temperature in a room. The output from the system is the air temperature in the room. The input is cool air added to the room. The system itself is the room full of air with its air flow characteristics. Note that the system could be mechanical, thermal, fluid, electrical, electro-mechanical, etc. 

[image: image7.jpg]nput —— ]

System

— = Output





Figure 1: Block diagram representation of a system. 

In this lecture we will show by examples how mathematical models for simple engineering systems can be developed. Notice that in each example four steps are taken. First, a diagram of all system components and externally applied inputs is drawn. From this diagram, the inputs and outputs are identified. Then a diagram is made of the system components in which all internal signals are shown. Finally, the differential equations governing the system dynamics are obtained. These equations form the mathematical model of the system. 

Example 1 Thermal system: Oil, tank and heater described in lecture #2. 

The oil, tank and heater system was described in the previous lecture. Now, we develop a mathematical model (differential equation) for this system which describes its dynamics. The different signals and components needed to derive a mathematical model for the thermal system are shown in Figure 1. 

We first identify the input and output. 
Input: voltage to heater, v, output: oil temperature, T. 

[image: image8.jpg]Surrounding
Environment





Figure 2: Diagram of the thermal system signals and components. 

We apply the heat balance equation to obtain the differential equation: 

Energy supplied by the heater = Energy stored by oil + Energy lost to the surrounding environment by conduction

[image: image9.jpg]




where, k is a contant provided by the heater manufacturer, v is the voltage to the heater, c is thermal capacitance of the oil (see Table 2.2, page 35 in the text book), T is the oil temperature, Ta is the ambient tempearture (environment), R is the thermal resistance of the tank wall (heat conduction) and t is the time. Equation (1) is the differential equation that describes the dynamics of our thermal system. Note that the input and output appear in this equation. If we know the input, v then we can solve equation (1) for the output, T. 

Example 2 Mechanical system: Spring-mass-damper system. 

In this example we model the spring-mass-system shown in Figure 3(a). The mass, m is subjected to an external force f. Let's suppose that we are interested in controlling the position of m. The way to control the position of the mass is by chossing f. 

We first identify the input and output. 
Input: external force, f, output: mass position, x. 

[image: image10.jpg]External Force
Damper ’

b -

eV

Smooth Surface

Spring No Friction
3

Equilibrium
Posiion






Figure 3: (a) Diagram of the mechanical system components. (b) Free body diagram of the mechanical system. 


We apply Newton's second law to obtain the differential equation of this mechanical system. Using the free-body-diagram shown in Figure 3(b), we have 

[image: image11.jpg]o)





where, b is the damping coefficient and k is the spring stiffness (see Table 2.2, page 35 in the text book). Equation (2) is the differential equation that describes the dynamics of the spring-mass-damper system. Note that the input and output appear in this equation. If we know the input, f then we can solve equation (2) for the output, x. 

The thermal and mechanical systems described in this lecture can be represented by the following block diagram: 

[image: image12.jpg]vor — f

Dynamics

equation (1) or

equation (2)

—»Tor
x





Figure 4: Block diagram representation of the thermal or mechanical system. 

Example Fluid System: Water Level Control 

The system is a storage tank of cross-sectional area A whose liquid level or height is h. The liquid enters the tank from the top and leaves the tank at the bottom through the valve, whose fluid resistance is R. The volume flow rate in and the volume flow rate out are qi and qo, respectively. The fluid density p is constant. Please refer to Figure 1 for a schematic diagram of the system. In such a system it is desired to regulate the water level in the tank. Assume that the variable the we can change to control the water level is qi. 

[image: image13.jpg]Water
Level

Density
P

Tank






Figure 1: Diagram of the fluid system components and signals. 

We first identify the input and output of the system 
Input: volume flow rate in, qi, output: water level, h. 

In order to obtain the differential equation of the system we use the conservation of mass principle which states that 

The time rate of change of fluid mass inside the tank = the mass flow rate in - mass flow rate out 

[image: image14.jpg]d
£ (pAl) = pg, ~
d'(pl)Pq,P‘L





where, A is the cross sectional area of the tank, g is the acceleration due gravity and R is the fluid resistance through the valve (see Table 2.2, page 35 in the text book). Equation (1) is the differential equation that describes the dynamics of our thermal system. Note that the input and output appear in this equation. If we know the input, qi then we can solve equation (1) for the output, h. A block diagram representation of the fluid system is shown in Figure 2. 

[image: image15.jpg]G ——m

equation (1)






Figure 2: Block diagram representation of the fluid system.

Example Mechanical System: (2 mass)-spring-damper system 

This system contains two masses, a spring, and a damper (refer to Figure 3). An external force is applied to the first mass and we would like to control the position of the second mass. The external force, f indirectly affects the motion of the second mass. 

[image: image16.jpg]e 8
External Force

7

Di
A amper

Smooth Surface [ X

No Friction
Spring
¥






Figure 3: (a) Diagram of the mechanical system components. (b) Free body diagram of the system.


We first identify the input and output of the system
input: extermal force, f, output: displacement of the second mass, z.
Next we find a set of differential equations describing this system. Newton's second law is applied to each mass to obtain these differential equations. 

[image: image17.jpg]



Notice how the system dynamics relate the input and output. Remember that f is the input and z is the output. A block diagram representation of the mechanical system is shown in Figure 4. 

[image: image18.jpg]—

Dynamics
equation (2) and
equation (3)






Figure 4: Block diagram representation of the mechanical system. 

Example Electrical System: RLC Circuit (Parallel Connection) 

The system below shows an electrical circuit with a current source i, resistor R, inductor L, and capacitor C. All of these parts are connected in parallel. It is required to regulate the capacitor voltage V. 

[image: image19.jpg]it

Current
Source

4

oy e mep o





Figure 4: RLC circuit (parallel connection).

In the next lecture we show how a state space representation of this mechanical system can be obtained. 

We first identify the input and output of the system
input: current, i, output: voltage, V. 

Next we find a set of differential equation that describes this system. Kirchoff's current law is applied. The sum of the three currents (R, L, and C) is equal to the overall source current i. 

[image: image20.jpg]ig +ip+ic =1
Vil
'L
av Vo1

R Z{V(r)dr =i @

I v
{V(r)dwcI





In the next lecture we show how a state space representation of this mechanical system can be obtained. 

State Space Representation

In deriving a mathematical model for a physical system one usually begins with a system of differential equations. It is often convenient to rewrite these equations as a system of first order differential equations. We will call this system of differential equations a state space representation. The solution to this system is a vector that depends on time and which contains enough information to completely determine the trajectory of the dynamical system. This vector is referred to as the state of the system, and the components of this vector are called the state variables. In order to illustrate these concepts consider the following two examples. 

Example spring-mass-damper system

[image: image21.jpg]e

External Foroe
Damper ’

b -

Smooth Surface

Spring No Friction
%




This is the same example discussed in the lecture #3 where we derived the mathematical model of the system. The equation describing the evolution of this system can be written as (see equation (2) in lecture #3): 

[image: image22.jpg]M+ b+ ky=f




Suppose that the input to the system is f and the output is x. In this problem we have a second order differential equation which means that we need two initial conditions to solve it uniquely. For example, specifying the value of x(to) and dx/dt(to) will allow for solution of x(t) for t>to. Therefore, we will also require two state variables to describe this system. We will label each state variable xi where i = 1,2 and make the assignments 

[image: image23.jpg]rad x,





Rewriting the differential equation above in terms of the state variables xi yields the following state-space description for the system: 

[image: image24.jpg]



We can use matrix notation to rewrite the equations in the above state space representation. 

[image: image25.jpg]



So for the above example, the state vector takes the form: 

[image: image26.jpg]



Example (2 mass)-spring-damper system

[image: image27.jpg]VSRR LA
External Force

7

Di
A anper

Smooth Surface ad X >z

No Friction
Spring
*




Click here to see the animation.
This is the same example discussed in the previous lecture where we derived the mathematical model of the system (set of differential equations). The equations describing the evolution of this system can be written as (see equations (2) and (3) from the previous lecture): 

[image: image28.jpg]myw= f~k(w-2)- Kow-2)

m, 2= ~k(z-w) - B(z-w)
with





Suppose that the input to the system is f and the output is z. In this problem we have two second order differential equations which means that we need four initial conditions to solve them uniquely. For example, specifying the value of w(to), dw/dt(to), z(to), and dz/dt(to) will allow for solution of w(t) and z(t) for t>to. Therefore, we will also require four state variables to describe this system. We will label each state variable xi where i = 1, ...,4 and make the assignments 

[image: image29.jpg]X =W, X, =W, X, =z, andx, = Z.
: = 73 L




Rewriting the two differential equations above in terms of the state variables xi yields the following state-space description for the system: 

[image: image30.jpg]



We can use matrix notation to rewrite the equations in the above state space representation. 

[image: image31.jpg]



So for the above example, the state vector takes the form: 

[image: image32.jpg]



In general, the linear state space models assume the form: 

[image: image33.jpg]



where x(0) is given. 
If the number of states is equal to n, number of inputs is equal to p and the number of outputs is equal to q, then A is an nxn square matrix, B is an nxp matrix, C is an qxn matrix, and D is an qxp matrix. 

The previous examples illustrate how to go from a physical problem to a mathematical description in state space form. Pictorially: 

[image: image34.jpg]Sami Asthab

Mathematical
Model

State Space
Representation)





We will usually want to choose the smallest set of state variables which will still fully describe the system. A system description in terms of the minimum number of state variables is called a minimal realization of the system. We will want next to compute the solution of the state space equation. This leads us to the study of Laplace transforms. 

Laplace Transforms

Laplace transforms are mathematical operations that transform functions of a single real variable into functions of a complex variable. They are extremely useful in the study of linear systems for many reasons. The most important reason is that by using Laplace transforms one can tranform a linear differential equation into an algebraic equation. Another important reason for Laplace transforms is that they supply a different representation for a linear system. Such a representaion will be the basis for the classical control techniques. Given a function of time, x(t) for t>0, we define the Laplace transform of x(t) as follows: 

[image: image35.jpg]" x(t)dt





A natural question to ask is: what are the conditions that the signal x(t) must satisfy in order for the Laplace transform to exist? The Laplace transform exists for signals for which the above transformation integral converges. However, the following fact supplies an easy way to check sufficient condition for the existence of a Laplace transform. 

Fact Suppose that

1. x(t) is piecewise continuous 

2. |x(t)|<Kexp(at) when t>0 for some positive real numbers K and a
then the Laplace transform L(x(t)) = X(s) exists for Re(s)>a. Note that Re(s) is the real part of s. 

Since any physically realizable signal is continuous and will not blow up so fast that no exponential can bound it, the previous fact assures us that the Laplace transform can be defined for any physically realizable signal. Let us now consider a few examples of how to calculate Laplace transforms. Note: For this course, we will use the letter 'j' to represent the complex constant sqaure root of -1. 

Example x(t)=Step Function

[image: image36.jpg]r)=1

X(s)= [ e x(r)dr





Example Exponential Function
[image: image37.jpg]Mt) =e®

X(s) - fe syt

e e dt

o gy

]

_ 1
(a-s)

o 1 (55a),




We will now start studying the properties of the Laplace transform.

Linearity of Laplace Transforms: If [image: image38.jpg]X1(s) = L(x; (1)) and X, (5) = L(x, (1))



then for any constants [image: image39.jpg]c andc,




[image: image40.jpg]Lieyxy (£) + cpx, (1),

X1(5)+ X, (5)



.

This property can be derived in the following way:

[image: image41.jpg]Lign () +65 0) =[x 0 +cyx, (e dt
o

=[aun(e™dt+ v (e dt
d o

VX () + 6 X, (5)






Laplace Transform of a Derivative: If [image: image42.jpg]


then

[image: image43.jpg]L[ »J =X(5) - x0)




This property can be derived in the following way:

[image: image44.jpg]L[ »] :z\[“dl

= x(tle™ I - [ x(t)(~se™™)at (ntegration by parts)
d

0-x@ 41 MDA =X () - 20
J




This property shows that the process of differentiation in the time-domain corresponds to multiplication by s in the Laplace domain plus the addition of the constant -x(0).


Laplace Transforms of Higher Derivatives: If [image: image45.jpg]


then

[image: image46.jpg]L[LJ =52 X(5) =52(0) - X0).




This property can be derived in the following way:

[image: image47.jpg]i) - {290
=5(eX() - 5(0) - 30)

=52 X(s) - sx@) - X0)




In general we have

[image: image48.jpg]L{x®)=gn
(¥ X(s) - 5™

2 Q) m 20D Q)

where, x® =




Laplace Transform of a Signal Multiplied by an Exponential: If [image: image49.jpg]


then

[image: image50.jpg]LEe®x(t) =X(s -a)



.
This property can be derived as follows.

[image: image51.jpg]L) - fe=ste-at
o

= [x0ear
J

—X(s -a)




This property shows that multiplication by an exponential in time corresponds to shifting in s.


Example: Find the Laplace transform for the following functions

[image: image52.jpg](@ x(t) =t (b) x(t) =e*sin 2t





We can find the Laplace transform for t and sin2t using the Laplace transform table. In part (a) we need to shift s by 3 whereas we shift s by -1 in part (b). Therefore the Laplace transforms of the above two functions are given as


[image: image53.jpg]1 2
© X(s) = ——
-3 i

(a) X(5) =




Inverse Laplace Transforms

In this lecture we discuss how to calculate the inverse Laplace transform. The simplest way to invert a Laplace transform is to convert the function to be inverted into a sum of functions which are Laplace transforms that we have already calculated. By the linearity of Laplace transforms, the given function can be inverted directly and its inverse will be a sum of the corresponding time domain functions. The table given under the supplementary material in this web site will be very useful in this. It lists some common time domain functions and their Laplace transforms. Some of these relationships were derived in Lecture 6.

We will next give an example that demonstrates how the Laplace transform can be used in solving an ordinary differential equation. Note that the inverse Laplace transform will be needed to solve the problem. 


Example 1:

The differential equation of a system is given as

[image: image54.jpg]SISHE





where u is the input to the system and x is the output of the system. Find the output signal x(t) if the input [image: image55.jpg]~ and x(0) = x(0)






Take Laplace transform of both sides of the differential equation

[image: image56.jpg]L[ s L+6\J =LY

(5> X(5) - 53(0) - ¥(©)) +5(5X(5) - ¥(0)+ 6X(5) = ﬁ

(45 +6)X(0) -~
s+l

1

T 5546
1

TEAG DG+

a b

X(s)

_°_ (Patial fiaction expansion)
1 AT 143

a=(s+ DX
=+ 22X,
=+ HXE)|_

111
T5+1 542 2543
Using the Laplace transform table we get the inverse

Laplace tranform which yields the following solution

= X5





In the following we will study by examples the techniques of inverting Laplace transforms. Each example will represent a particular form for a Laplace transform, and the solution can be viewed as a model on which to base the procedure for similar cases. Note that in the previous example we provided a method for inverting the Laplace transform.


Example 2: Calculate the inverse Laplace transform for the following function

[image: image57.jpg]-
G+D6+DF

X(5)




Using the partial fraction expansion, we have

[image: image58.jpg]<

[T
a=(+DX0)|., ﬁ
e
=G DPxE)| (qu) 1
)

Loantxe)

1

Therefor,
L1

42 54l )P

Using the Laplace transform table an the property

ciscussed in this lectue, we have

x(t) =e** —e7t —te, fort=0.

X(t) =







Example 3: Calculate the inverse Laplace transform for the following function

[image: image59.jpg]_ DGt +D

gy




Using the partial fraction expansion, we have

[image: image60.jpg]b c da €
O T R e e
1
73
=(5+3)X()],_

a=sX()|,

8T

185

-6+6'X0)|_, -

d Z(Hs)’x(x)

7T
:
£ vo'xe)

s
The reason for the last thiee equations can be seen
fiom the following

(Hs)’x(x)f

,(Hs)’ (X+6)z+r(x+6)l+d(x+6)+e
3

Thelefme

¥() =a+be roe® et 1 pte®t




Example 4: Calculate the inverse Laplace Transform for the following function. Note that the denominator has real and complex roots.

[image: image61.jpg]100(s +3)
O e e




The roots of the denominator of X(s) are s = -6, s = -3+4j and s = -3-4j . We first calculate the partial fraction expansion of X(s) without factoring the second order polynomial which has the complex roots.

[image: image62.jpg]a bs+c
O
), $+6 5* 465425
a=(+6X0)|_, =-12
X lDD£x+3) bs+c
G+ET+65+25) 146 sL+65+25
100(s +3) =-12(" +65 +25) + (bs +) ¢ +6)

1005+ 300 = (~12+ )5 + (=72+ 6b+ c)s + (300 +6¢)
100. Therefore,

Equating coefficients gives: 5 =12 and
b 125 +100
546 5465405
_-I2 | 126+3)-36+100
46 +3°+16
~12 12(s+3) 64
o T S
46 (437416 (+3P+16
216+ 088
46 (437416 (+3P+16
Using the property discussed in this lecture and the
Laplace transform table, we have

x(f) ==127* 4 12¢ % cos (41) + 16 sin(44), fort =0.

X(s) =





Solutions of Linear Systems

In this lecture we will begin studying a few methods for the solution of linear differential equations. In particular we will focus on those differential equations that arise from modeling linear mechanical systems such as a mass-spring system. First consider the following differential equation:

[image: image63.jpg]



In order to solve this equation for a unique y(t), we need the initial conditions: [image: image64.jpg]y(0), v(0), and y(0)



. Let us start by writing this equation in state space form. Define [image: image65.jpg]b SR 25



. This gives us:

[image: image66.jpg]



With initial conditions: [image: image67.jpg]x(0), x, @), and x; (0)



. In matrix notation we have


[image: image68.jpg]1 0fa] [u@] [uo
0 x| nO|=%
3 0)x) | @] |





This fits the general form:

[image: image69.jpg]



with


[image: image70.jpg]





Before we develop the complete solution for this general problem we will look at the solution of a very simple case. Suppose x(t) and u(t) are scalars. This would give us A = a and B = b also scalars. Consider the first order differential equation

[image: image71.jpg]T=av+ by, 10





We operate on this equation as follows

[image: image72.jpg](e




multiply both sides by [image: image73.jpg]



[image: image74.jpg]t-ae®x =%





and integrate the expression with respect to time


[image: image75.jpg]b o

Liestonds :je""bﬂ( dr
o, = [ utnds
g

) -y = fe o

o) =e 5+ [ Ptu(rdr




This last equation is known as the scalar form of the variation of parameters formula. The components of this equation are as follows:

[image: image76.jpg]€, : transient response due to initial condlitions

J €% bu(r)dr: forved response produced by the contiol input

% andu(s) © given




Example: Calculating the solution to a specific case of the scalar problem given above.
[image: image77.jpg]



with input
[image: image78.jpg]u(t) =sint.






Using the variation of parameters formula above we find:


[image: image79.jpg]Sy fe¥sin rdr
1

5t ol Be¥sint -~ cost+ D)
| 10

(using integral tables)

3, 3sint_cost e
Lt

o 110
112 3sint_cost
W et

it} 1010





Solutions of Linear Systems (Continued) 

We now consider the more general matrix case:

[image: image80.jpg]



where A is n x n , B is n x m, x(t) is n x 1 and u(t) is m x 1. Let us define the matrix (t) which solves the following matrix differential equation:

[image: image81.jpg]



where I is the n x n identity matrix. By using Laplace transforms we can transform the above equation into

[image: image82.jpg]



and thus

[image: image83.jpg]&(5) =(sT- A"




and

[image: image84.jpg]



which is the inverse Laplace transform. One can also verify that (t) is equal to the following infinite sum by showing that the sum converges and satisfies the above matrix differential equation.

[image: image85.jpg]g(t) =*





Observe that we can use (t) as an integrating factor in the following way:

[image: image86.jpg]t-Av=Bu

$(0) x(1) - p() Ax(t) =g(t) Budt)
d

E(@(l)\(t)) =¢(0) Bult)

T & (otorstenas - JetoButodr
0 ar o




Note that for one of the steps above we have used the fact that (t) commutes with A; that is A= (t)A. Using the infinite sum expression for (t), the reader can easily verify this fact. In a similar way to the scalar case we arrive at


[image: image87.jpg]x() =e*xy + [ Bu(r)dr




In the general case where the initial condition is given at some point t0, we have 

[image: image88.jpg]3(t) =e** Wy, + [eASD Bu(r)r
e




where

[image: image89.jpg]X(ty) =xq





is given. This is the matrix form of the variation of parameters formula. The matrix [image: image90.jpg]


is called the state transition matrix.


Example 1 Solve the following matrix differential equation.

[image: image91.jpg]



Suppose u(t) = 0.

We first find 

[image: image92.jpg]gty =e” =L'|(I-47"|





[image: image93.jpg]GI-4 :x[

o

o] [t 0

1|70 3]

|-

s-1
0

o
5-3]




Therefore,

[image: image94.jpg]



and

[image: image95.jpg]80 =c® :L"[(u—m"]:[e

a




Hence for the unforced case (u(t) = 0), we have by the variation of parameters formula


[image: image96.jpg]



Therefore, the solution is given by

[image: image97.jpg]





Example 2 Solve the following differential equation with a non-zero input.

[image: image98.jpg]



This time let u(t) = sin2t .

We may use the (t) which we found previously since no part of its derivation has changed. Hence, we have

[image: image99.jpg]





Now using the variation of parameters formula given above, we can see that our system satisfies the equation:

[image: image100.jpg]x(t) = () x(0) + f #(t ) Bu(r)dr

¢ oy, Her o
:[D als +{ 0 e ')l sin2rdr
[ ¢ 0 F[ 0 ][sm“

o o o
[e]L]e o]Hersina]
“les|*lo &
el le T(-sin2r -2c0527)

2¢*| [0 o

lo







[image: image101.jpg]



Therefore, the solution is given by

[image: image102.jpg]1 2 3
- zsin2f - Zcos2t and 1,(1) =2¢*, fort=0.




Example 3 For the shown spring-mass-damper system, find the position and velocity of the mass if the initial position is 1 m, the initial velocity is zero and the external force f (t ) = 5 N.

[image: image103.jpg]Eechania com|

Damper
b=5Nsim

Extemal Force




The state variables are the position and velocity of the mass. Recall that the state space representation for this system is written as 

[image: image104.jpg]S S o)




We need to solve this equation in order to find the state variables. The variation of parameters formula will be used to solve the problem. We first calculate the state transition matrix

[image: image105.jpg]£

[ 543

el

§ sl 45546 45546
6 545 F
5546 5245546,
545 1 32 11
_[6¥06+y 63| | ez w5 52 el
£ s 6,6 2.3
Gr26+3 G0G+3)] | 742 143 542 543

e - er-47] [

3020 _gg3t
-6e2t 163t





The variation of parameters formula gives

[image: image106.jpg]u®)_[3e”
[w) “lse





Stability

Conceptually, a stable system is one for which the output is small in magnitude whenever the applied input is small in magnitude. In other words, a stable system will not “blow up” when bounded inputs are applied to it. Equivalently, a stable system’s output will always decay to zero when no input is applied to it at all. However, we will need to express these ideas in a more precise definition.

Stability (asymptotic stability): A linear system of the form

[image: image107.jpg]Y=dve By, x0)=3,
Cx+Du





is a stable system if

[image: image108.jpg]x(t) =0 as t— o forany initial condition x, and u(f) =0.




Notice that u(t) = 0 results in an unforced system:

[image: image109.jpg]



By the variation of parameters formula, the state x(t) for such an unforced system satisfies

[image: image110.jpg]4 W
x(f) =€’




In this case, the system output y(t) = Cx(t) is driven only by the initial conditions. 


Example 1 Let us analyze the stability of the scalar linear system:

[image: image111.jpg]T=av+ by, 10





Let u(t) = 0 and use the variation of parameters formula. We have

[image: image112.jpg]



If a < 0, then the system is stable because x(t) goes as to zero as t goes to infinity for any initial condition. If a = 0, x(t) stays constant at the initial condition and according to our definition of stability the system is unstable. Finally, if a > 0 then x(t) goes to infinity (“blows up”) as t goes to infinity and thus the system is unstable.


Example 2: Let us analyze the stability of the following unforced linear system

[image: image113.jpg]



Using the variation of parameters formula one can see that

[image: image114.jpg]n] e n][h(ﬂ)]:
[w) [P B0

'm0 ]
ey, (0)




Because both exponentials have a negative number multiplying t , for any values of the initial conditions we have

[image: image115.jpg]X(8)—0 and x,(f) =0 as t— o,




By the definition of stability given above, this system is stable.


Examples of stable and unstable systems are the spring-mass and spring-mass-damper systems. These two systems are shown in Figure 1. The spring-mass system (Figure 1(a)) is unstable since if we pull the mass away from the equilibrium position and release, it is going to oscillate forever (assuming there is no air resistance). Therefore it will not go back to the equilibrium position as time passes. On the other hand, the spring-mass-damper system (Figure 1(b)) is stable since for any initial position and velocity of the mass, the mass will go to the equilibrium position and stops there when it is left to move on its own. ( See the animations by clicking on the links that are provided below Figure 1.)

[image: image116.jpg]eMecranizacom

Spring
¥

Spring
¥

Damper

OR

Friction






Figure 1: (a) Spring-mass system with no damping. (b) Spring-mass-damper system.

Click here to see the spring-mass system animation
Click here to see the spring-mass-damper system animation
Click here to see a stability animation
Let us analyze the statility of the spring-mass system using mathematical relations. The equation of motion for the spring-mass system shown in Figure 1(a) is written as

[image: image117.jpg]SPT




Note that there is no damping and external force (b = 0 and f = 0). Rewriting the above differential equation in the state space form with the mass position and velocity as state variables, we get

[image: image118.jpg]



The solution of this state equation is

[image: image119.jpg][

)
5

0
%,0)

|




We now compute the state transition matrix

[image: image120.jpg]



Therefore, the state variables of the system as a function of time are given as

[image: image121.jpg]\/75111\]:;:[[‘@)] l,(D)cns\[THLZ(D) smfl}
%0, [L,(D)(&ll}(l+q(ﬂ)cus(J






Note that the two state variables do not go to zero as time goes to infinity for any initial condition. They instead oscillate around the equilibrium point (x1 = 0 and x2 = 0). Therefore, the system is unstable.

Another example that demonstrates the concept of stability is the pendulum system which is shown in Figure 2. If air resistance is negelected the pendulum will oscillate forever and thus the system will be unstable. On the other hand, the mass will always go back to its equilibrum position if air resistance is taken into account and the system will therefore be stable. 

[image: image122.jpg]‘eMechanica.com

b

mass





Figure 2: Pendulum System.

Stability (Continued)

The stability of a system can be related to the eigenvalues of the system A matrix. These eigenvalues can be determined from the characteristic polynomial of the matrix. For a matrix A, its characteristic polynomial is 

[image: image123.jpg]-det(s/ - A




and the eigenvalues of the matrix A are the roots of the characteristic polynomial.

Example 1: We will calculate the eigenvalues of the following matrix

[image: image124.jpg]



We first find the characteristic polynomial of A.

[image: image125.jpg]+1

B6) =det(sT - ) =t +D(5+2)





The roots of the characteristic polynomial are the values of s that satisfy the following relation

[image: image126.jpg]Als) =5 +1)(5s +2)





Therefore the roots of the characteristic polynomial are s = -1 and s = -2. Thus the eignevalues of A are -1 and -2. It is a fact that the eigenvalues of a diagonal matrix, such as the matrix A, are its diagonal elements. Notice that the A matrix of this example is the same as the A matrix of the unforced system studied in a previous example (see previous lecture). Notice also that the eigenvalues of A are the constants multiplying t in the exponentials of the unforced state solution of that example. Remember that 

[image: image127.jpg]n(t) =€’ (0) and x, () =€ *x, @0).





Because of this fact, it is easy to see that negative eigenvalues correspond to a stable system while non-negative eigenvalues will produce an unstable system.

Stability (asymptotic stability): A linear system of the form

[image: image128.jpg]Y=dve By, x0)=3,
Cx+Du





is a stable system if all of the eigenvalues of matrix A have negative real part.



Example 2: We will analyze the stability of the following system

[image: image129.jpg]



The eignenvalues of the A matrix are -1 and 2. Since one of the eigenvalues is non-negative, this system is unstable.

Exercise: Solve the differential equation of this example and note that the second state variable will blow up as t goes to infinity which produces an unstable system.


Example 3: Let us analyze the stability of a system whose A matrix is of size 3x3. Also, find the state transition matrix.

[image: image130.jpg]



The characteristic polynomial is

[image: image131.jpg]s+l 0 0
0 542 4
0 4 s+

A(s) =ct(s] - ) =c (s+ D[ +2)% +16]





The characteristic equation, [image: image132.jpg]


has the roots s = -1, s = -2+4j and s = -2-4j . Since the real parts of all the roots are negative, we conclude that the system is stable.

We now find the state transtion matrix

[image: image133.jpg]1

-Al- i
B AT e P o)
(s+2)7+16 i 0
- 0 G+D6+D  dG+])
(”U[(” ‘5] 0 AsaD) DG+
[ o o |
s+l
= el g |
G+27+16  (+272+16
4 (5+2)
(IR S ...
[° v weoresl
= 0 0
6r-a7 0 eHeosar e Hsmar

[0 e®sinar e2foosar|




Input/Output Description of a Dynamical System

We have studied systems of the form:

[image: image134.jpg]Y=dve By, x0)=3,
Cx+Du





where u is the input, y is the output and [image: image135.jpg]


is the initial condition. Pictorially, the system can be represented as follows:


[image: image136.jpg]physical process






From the variation of parameters formula, the state x(t) satisfies:

[image: image137.jpg]x() =e*xy + [ *¢ D Bu(nr,




and therefore the output y(t) can be written as:

[image: image138.jpg]Py S Lok LA

Gty 4 At
= Ce®xy + [Ce**? Bu(r)dr+ Du(t)
2




The first term, [image: image139.jpg]Ce®.

e’
X



, is the unforced response resulting only from the initial conditions and the term, [image: image140.jpg]}c'e“”)m )dr + Dulh)
S



, is the forced response due to the input u(t). A state space description of a system is an internal description because it contains all the information that is available about the internal operation of the system. This information is contained in the state vector. In an external or input/output representation, this internal system information is lost and the effect of the input only on the output is considered. In other words, the output represents only the forced response and the initial conditions are assumed to be equal to zero.

Given the following internal description of a dynamical system

[image: image141.jpg]Y=dve By, x0)=3,
Cx+ Du,





we want to find an input/output relationship in the Laplace domain. We first take the Laplace transform of the above equations with the initial condition set to zero, we have

[image: image142.jpg]AX(s)+ BU(s).




Solving for X(s) we obtain:

[image: image143.jpg]



Taking the Laplace transform of the output equation y = Cx+Du , we find that

[image: image144.jpg]Y(s) = CX(s) + DU (s}

“(sI- &)™ B+ DU(s).




An internal or state space system representation describes the evolution of the system in the time domain. However, an external or input/output system description is developed in the Laplace domain. We now consider how an external representation may be obtained from an internal one. 

The term [image: image145.jpg]CGsI-A'B+D



is called the transfer function of the system and it determines the output Y(s) for any given input U(s). Notice that the equation [image: image146.jpg]Y(s)=|C(sI- & B+ D[U(s)



does not contain any information about the system state or the initial conditions. 

Summary: Given the internal representation of a system:

[image: image147.jpg]Y=dve By, x0)=3,
Cx+ Du,







it straightforward to obtain the transfer function 

[image: image148.jpg]TU)’U(;) =C(sI-A7 B+D.





A transfer function can be represented by the following block diagram:

[image: image149.jpg]





where Y(s) = T(s)U(s).
For a given set of system matrices A, B, C, D, there is only one corresponding transfer function T(s). However, one transfer function may correspond to many different state space representations. A state space description obtained from a transfer function is known as a realization and can take on many different forms. We will study a few of these forms such as 
the controllable canonical form and the observable canonical form later on in the course.

Remember that in computing a transfer function, the initial conditions are set to zero. Therefore, a piece of information is lost in the transformation from a state space description to a transfer function.


Example: Consider the following dynamical system in state space form:


[image: image150.jpg]T=Av+Bu
C+Du

w2} =]

[T





(a) Find the transfer function from U to Y.
(b) Find y(t) if u(t) =1 and the initial conditions are equal to zero.


Solution

(a) Transfer function

[image: image151.jpg]T(s)=C(sI- A~ B+D

- 3, ”Hi

Y

- 3][ . jJl




[image: image152.jpg]





(b) Using the transfer function T(s) calculated in (a) and the equation Y(s) =T(s)U(s), we can calculate the output for a given input signal.

[image: image153.jpg]SMP=T )

__5-7 1
TG0
a, b <

(partial fizction)





Note that in the example above, the denominator of the transfer function T(s) is of degree two, which is the same as the number of state variables in our state space system representation. However, this is not always the case. A state space system with n states may have a transfer function whose denominator has degree less than n. The order of a state space system as the number of its state variables. This tells us that the degree of the transfer function (i.e. the degree of the denominator polynomial) is less than or equal to the order of the system. In the special case where the order of the system is equal to the degree of the transfer function, we say that the system has minimal order.

Input/Output Description (Continued)


We give two more examples to demonstrate the ideas of input/output description of a dynamical system.



Example 1 A system with three state variables (order = 3):

[image: image154.jpg]



We must first calculate the adjoint of the determinant of the matrix (sI-A) (see matrix inverse under tools in the supplementary section):

[image: image155.jpg]s-6 0 o
AGGI-A= 0 5D -]
0 2s-D s-D




We next solve for det(sI-A) :

[image: image156.jpg]det(s7 - A) =(s -1 (s* -6) =5 —5* —65+6.




Finally, we have

[image: image157.jpg]T(s)=C(sI- A~ B+D
Aol o o

2 —p 1o s6-b -y
“ere6 0 26-D st-D

1
1
1

+0





[image: image158.jpg]





Example 2: Consider the shown spring-mass system.


[image: image159.jpg]If(f}





m > 0, b > 0 and k > 0. Let the state variables be the position and velocity of the mass.
The output of the system is the position and the input is the external force f .

(a) Is the system stable?
(b) Find the transfer function.

For parts (c), (d) and (e) let m = 1 kg, b = N.s/m, and k = 1 N/m. 
(c) Find the state variables (position and velocity of the mass) as functions of time if the initial conditions are equal to zero and f(t) = 1.
(d) Find the output y(t) if the initial conditions are equal to zero and f(t) = sint .
(e) Find the output y(t) if the initial position is equal to 1 m, the initial velocity is equal to zero and f(t) = sint .


Solution:

Let the position of the mass be z. Let us first find the state space representation of the system. We previously found the differential equation that governs the dynamics of this system:

[image: image160.jpg]



The two state variables of the system are

[image: image161.jpg]zand 1,





The input u = f and the output y = z . Thus, the state space equations are written as:

[image: image162.jpg]



(a) In order to test the stability of the system we find the eigenvalues of the matrix A:
[image: image163.jpg]



Note that for m > 0, b > 0 and k > 0 the real part of the eigenvalues is always negative. Therefore, the system is stable. For any initial condition the mass will go to the equilibrium point and stops if it is left to move without applying the external force (input).

(b) Transfer function

[image: image164.jpg](sI- 47 B+D
-

s -1
i [
w T

1 0]Adj(sI- A)
del(l For AL M4 H






[image: image165.jpg]



Note that the transfer function of the system can lso be found by taking the Laplace transform of both sides of the differential equation that governs the system dynamics and setting all the initial conditions to zero.

(c) To find the state variables as functions of time we use the variation of parameters formula. Let us first compute the state transition matrix with m = 1 kg, b = N.s/m, and k = 1 N/m:

[image: image166.jpg]Fasel sPasel

5405 05 7 1 75
T 23 T T
_|6+05%+075 D75 (1 +05* +0.75 075 (s +0.5)° +0.75
-1 075 5405 05 75
| 075 s+057%+075 6+05°+075 075 (s+057°+075






[image: image167.jpg]=Cier-a7]

= 5’[ch 7t 0% gin 75:] L0t g 575t
o7 7

&% sin 075t = [cus OT5t

s







[image: image168.jpg]3y + [P Bu(rydr
g

L0 75t

= 0] +j. 75 05 dr
o]") Hs@,g[mmm)— sinA075( - 1)

Woxst






Exercise: Complete the integration and get the answer for part (c). Is there an easier way to solve this part of the example?

(d) Since all the initial conditions are equal to zero we can use the transfer function found in part (b) to find y(t).

[image: image169.jpg]EMPE S,
1
Faselstel

a+b  c+d

P (partial fraction)
sTasal stel

- ARG T e AT G
s+ DG+

a+c=0

05
T6+057 4075 (+057+075 5

¥(t) = H(F(5)) = |cos 4075+





(e) This part is the same as part (d) except for the initial condition. In part (d) the initial condition is assumed to be zero and the output is the forced response. Thus, if we find the unforced response and add it to the one found in part (d) we get the answer.

The unforced response (or response due to the initial condition) is given as:

[image: image170.jpg]



The output is equal to the unforced response found here plus the forced response found in part (d), that is (variation of parameters formula)

[image: image171.jpg]yit)= Ce¥xy + [ Ce*O~DBulr)dr + Du(t)

wnforced & P—,
foreed vath zero iitial concltion

:g“’[cus Ko Liﬁsm N 75:]

20 5’[ch 075t %\sm -0 75:] —cost.




Linearization of Nonlinear Systems

In modeling physical systems, it often happens that a system of nonlinear differential equations is obtained. Since all of the methods studies in this course apply only to linear systems, we must obtain a linear approximation to our nonlinear system. This linearization process starts by finding a certain nominal trajectory and then rewriting the equations in terms of variables that describe the deviation from this nominal trajectory. 

Let us first give an example of a nonlinear system.

Example: Pendulum

The figure below shows the pendulum system. A mass m is attached to a cable of length L. The angular position of the mass measured from the vertical axis is [image: image172.jpg]


. The positive direction for the angular position is counterclockwise. We will assume that there is no external force or air resistance on the system. This means that the mass will oscillate freely forever about the vertical axis. 

[image: image173.jpg]eMecraniacom

Length

Mass m





Click here to see the undamped pendulum system animation
We first obtain the differential equation that governs the dynamics of the pendulum system. The free-body-diagram that shows all the forces on the mass is drawn below.

[image: image174.jpg]Tension in the
normal direction

Tangental

Normal




We will write newton’s second law in the tangential direction.

[image: image175.jpg]2F =ma, =-mgsin &
mL&=-mgsin

é-£sino-0




Note that the above differential equation is nonlinear. We choose the state variables as follows (z is usually used for nonlinear systems and x for linear systems):

[image: image176.jpg]and 7,

8.




The state equation can be written as

[image: image177.jpg]o A
-t )0





This (nonlinear) state equation cannot written in the linear form

[image: image178.jpg]





In general, the state equation for a nonlinear system with n state variables z1, z2, ... zn and input v (we use v for nonlinear systems and u for linear systems) can be written as 

[image: image179.jpg]) zj:ﬂ
I

z,




Equivalently,

[image: image180.jpg]al (Al
% :\fzu,zp zm‘

&

Fatty iy ),




Assume that we have a nominal solution [image: image181.jpg]Zo(8), Vo ()



that satisfies

[image: image182.jpg]2o = flzg)p).




Define [image: image183.jpg]


, the deviation of the state from its nominal value, and [image: image184.jpg]


, the deviation of the input from its nominal value. We can write 

[image: image185.jpg]dv_di_dy

T - fe - )




In order to obtain an approximation for our system, we express dz/ dt as its Taylor series expansion about the nominal trajectory as follows:

[image: image186.jpg]d_ - L pd
o = T@n=rvo+ % Mn)(kln%ﬁmn)(\ ~vo)+ HOT.




H.O.T. denotes higher order terms which will be ignored. We have

[image: image187.jpg]dv_of| B

T aLﬂﬂ)(t—lnHm v=1p).

ez v)




This can be rewritten in the form of a linear differential equation as follows:

[image: image188.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_14/Lecture_1418.jpg" \* MERGEFORMATINET [image: image189.jpg]



We now summarize how to perform the linearization.



Linearization: Given a nonlinear system

[image: image190.jpg]a

fam, 2=[%

2

al [Akg )
o :\fzmz; zm‘

2

Faltzy iy ),




Choose a nominal state vector z0 and a nominal input v0. We usually choose the nominal state vector and input at the equilibrium or steady state condition.

Linearization of fthe system around the nominal point gives

[image: image191.jpg]3

AL B




where, [image: image192.jpg]


(deviation from the nominal state vector), [image: image193.jpg]


(deviation from the nominal input),

[image: image194.jpg]A ﬁh o

%

oz,

%

oz

%

oz,

a,
A
Ex

a,

%
3
%
Fe

i
e

7o
E:')‘ (Tave)

|

H

B
%

By

LA
ol

)
.
ez




Note that matrix A is the Jacobian of  f.

Example: Linearize the pendulum system given above.

We will linearize the system around the equilibrium point where the two state variables are equal to zero:

[image: image195.jpg]r=1-19





Note that there is no input in this example.

Linearization of Nonlinear Systems (Continued)

In this lecture we give another example on linearization. The example is an advanced control application that demonstrates the idea of linearization both mathematically and physically.


Example: Electromagnetic Levitation

Consider the following magnetic levitation circuit consisting of an electromagnetic with a mass directly under it. In this application the controlled variable is the mass position y, and the input to the system is the voltage v .

[image: image196.png]darker magnet color
Y ‘means higher voltage

‘Sami Ashhab




[image: image197.jpg]eNectaniz.com

Mg





Click here to see a picture of the electromagnet and ball
Click here to see a movie of the electromagnet and ball
We first obtain a mathematical model of the above system. The force exerted on the mass by the electromagnetic is

[image: image198.jpg]LGN

Ful) =5





Our system dynamical equations are:

[image: image199.jpg]





We next define the three state variables

[image: image200.jpg]



and obtain a state a space representation for the system. Since we have a second order differential equation in y, we choose y and its derivative as state variables. Since we also have a first order differential equation in i, we to choose i as a third state variable.

Now, our state equations are:

[image: image201.jpg]



We would like to write this in a linear state space form, but we cannot because of the presence of the nonlinearities. Therefore, we proceed by finding a linear approximation to this system. The first step in this process is to define a nominal trajectory for the system. In this case, we choose a nominal trajectory based on a steady-state condition. Consider the Case where v and y are constants, and denote their values by [image: image202.jpg]


and [image: image203.jpg]


. Our nominal conditions become:

[image: image204.jpg]29 =Y (constant)
20 =0





Our condition for equilibrium: the weight of the ball is equal to the magnetic force. Written in terms of our state variables we have

[image: image205.jpg]éﬂ‘f(?ﬁ 250 = Mg

15,




In the steady state case, we assume that the system input is also a constant. Therefore, we have

[image: image206.jpg]constant.




To arrive at a linearization model, we calculate the matrices A and B :

[image: image207.jpg]%% ﬂfx}

oy 0 b

a-Z A
R A
% s Py

AT N





System Controllability

A system is said to be controllable if for any values of 

[image: image208.jpg]T, xg, and x*, (d hee is a supersciipt and not power)




there exists a control input u(t) for [image: image209.jpg]


to move the system from 

[image: image210.jpg]



This idea is illustrated by the following example.


Example 1: Spring-mass system.
[image: image211.jpg]



The system state at t = 0 is:

[image: image212.jpg]



We want to find u(t) such that at time T the resulting system state will be:

[image: image213.jpg]



For example, we could choose 

[image: image214.jpg]w0 || s - 5]




If the construction of u(t) for [image: image215.jpg]


is possible for any such choice of [image: image216.jpg]


then the system is controllable.


Derivation of a Controllability Test

In order to obtain a test for controllability we will consider a discrete-time dynamical system of the form

[image: image217.jpg]Tgay =Axg + Buiy
Y, =Cx, + Du,





where the subscript k denotes the time step. Suppose the system starts at the initial condition [image: image218.jpg]


and we want to find the input sequence [image: image219.jpg]Uy
m, Uy,



so that the final state [image: image220.jpg]


is equal to a desired final state [image: image221.jpg]


. By writing the equations for the evolution of the system during the n time steps we arrive at

[image: image222.jpg]Yy =Avg + Buy
%, = Ay + Buy = A'xy + ABuy + By
x5 =Av, + Buy, = A*xg + A" Buy + ARy + Bu,

Xy A"x, + A" Bug + A" Buy + -+ ABity_y + By,





The unknowns in this problem are the elements of the control sequence [image: image223.jpg]Uy
m, Uy,



. The quantity [image: image224.jpg]2% Az



is known a priori. Now we can rewrite the above equations as follows:

[image: image225.jpg]s

Uy

ey

M

= oAy

[6 48 4B - a5 475]




In order for the above set of equations to have a solution for any initial condition [image: image226.jpg]


and any final desired state [image: image227.jpg]


the following condition must hold

[image: image228.jpg]rank|B AB A'B - A™'B A™.





We define the controllability matrix Con as:

[image: image229.jpg]Con=|B AB A'B .. A™*B A™





Therefore, our discrete-time system is controllable if and only if the controllability matrix is of full rank. In the case of single input systems, i.e. B is an n x 1 matrix, the condition reduces to

[image: image230.jpg]det(Con) =0.




This is called the Kalman rank test. Although the test has been derived for discrete-time systems it is also valid for continuous-time systems. We summarize the test in the following:

Kalman’s Controllability Test-- Single - input case:
A system of the form [image: image231.jpg]AL



is controllable (i.e. a controller can be found to transfer the state of the system from any initial state to any final state) if [image: image232.jpg]det(Con) =0



where [image: image233.jpg]Con=|B AB A'B .. A™*B A™




Con is known as the controllability matrix and n is the number of state variables.


Example 2: Determine the controllability of the spring-mass system

[image: image234.jpg]



We must construct the controllability matrix to determine whether this system is controllable:

[image: image235.jpg]



Thus we can conclude that the system is controllable.


Example 3: Determine the controllability of the following system.

[image: image236.jpg]



Equivalently,

[image: image237.jpg]ey

X =2x




Clearly, this system is not controllable. The input has no effect on the state [image: image238.jpg]


. Check this with the Kalman controllability test:

[image: image239.jpg]



Therefore, the system is uncontrollable as expected.


Example 4: Determine the controllability of the following system.

[image: image240.jpg]



Equivalently,

[image: image241.jpg]=+

Yo =1+ 20




We notice that the dynamical equations for the two state variables are identical. Therefore, if the initial states are the same, then [image: image242.jpg]N =x(



. Thus, whatever the input signal, no final state in which [image: image243.jpg]X =Xy



can be reached. Therefore, this system is uncontrollable. Verify using the Kalman controllability test:


[image: image244.jpg]Con=[B AB]

det(Con) =0.




Our analysis was correct; the system is uncontrollable.

System Controllability (Continued)

In the previous lecture, we showed that given the system:

[image: image245.jpg]AL




where u is a scalar, we have the following test for controllability: if det(Con) is not equal to zero then the system is controllable, and if det(Con) is equal to zero then the system is uncontrollable.


Example 1: Consider the third order system

[image: image246.jpg]2 0)fu] v
-1 0| || #{1fe
0 1w 1





We would like to determine if this system is controllable or not. We first form the controllability matrix:

[image: image247.jpg]



Note that 

[image: image248.jpg]





We then evaluate the determinant of the controllability matrix. We find that det(Con) = -32 which is not equal to zero. Therefore, the system is controllable.



Example 2: 2mass-spring-damper system

[image: image249.jpg]Sami Asthab

External Force
7

Di
[ aper

Smooth Surface
No Friction

HW‘\ b

Spring
*






This is the same example we considered in lecture #4. We will determine here whether or not the system is controllable with the following values

[image: image250.jpg], =1 kg, b=1kg/s, k=1 N/m.






Recall that the state space representation of this system is written as

[image: image251.jpg]



In order to test for system controllability we construct the controllability matrix:

[image: image252.jpg]Con=|B AB A'B A’B|






[image: image253.jpg]det(Con) =1 =0.






Therefore, the system is controllable. The external force is applied to one mass but we can control the position and velocity of the second mass as we like!!


Construction of the Control Input:

Consider a dynamical system of the form

[image: image254.jpg]AL




which is controllable. Suppose the system starts at the initial condition 

[image: image255.jpg]



and we are interested in transferring the system to the state [image: image256.jpg]


in T units of time. We will now give a formula for an input u(t) in the time interval from zero to T that will produce the desired state transfer. First we need to compute the following matrix called the controllability gramian at time T which is given by

[image: image257.jpg]= g
o) - fe* BB dr
4




Note that the superscript ‘ denotes the transpose operation (see matrix transpose under tools in the supplementary section). The desired input is given by the following formula:

[image: image258.jpg]e 9% o
(0 [af - |




Let us verify that the above control input produces the desired transfer. From the variation of parameters formula, our state equation is the following:

[image: image259.jpg]g + [ Bu(rdr.




Evaluating our state at time T and substituting our input equation leads to the following:

[image: image260.jpg]z
D) =e* 5y + [P Bu(r)dr
v
T :
ety + [eT-DABHTIX o) x4 - Ay Jir
o

z g
=g [T PABBT I oy 1 g ]
d

ez, + QDM 3¢ -y, |





Hence, our input u(t) as given above will perform the desired state transfer.


Example 3: Consider the following system

[image: image261.jpg]



We would like to transfer the system from its initial state of:

[image: image262.jpg]




to a final state of:

[image: image263.jpg]



in t = 1 second. In order to be certain that we can construct an input u to achieve this transfer, we need to know that our system is controllable. Therefore, let us first calculate our system controllability matrix and evaluate its determinant.

[image: image264.jpg]and det(Con) =3 =0.




Therefore, our system is controllable.

The first step in constructing our control input is to calculate the controllability gramian Q(1). In order to do this, we must determine our state transition matrix:

[image: image265.jpg]"

-Lfe1- 4] -1

)

=z

=L

f

[

s+l 0 "

3 42
:

(Hl)(n“)
1

sy
3l

s+l 5142

X+"

X+3

o







[image: image266.jpg]



We now calculate the controllability gramian.

[image: image267.jpg]-4 g
oW = fe*BBe™ dr
J

01 O)fer 3eT -3t
e|lo of[ 0 i

eF 3¢ -3¢
H 0 . ]dr

04323 03468
03463 03985






We can finally construct the required control input. Using the formula given above we have:

[image: image268.jpg]u() = B4 o) [xf -ety, |

36709 734,4(“)] [n 4323 03468

T 3468 0 3935]

o 2





[image: image269.jpg]e ae0n ,3{10,,)][ 76635 6. 6692]

-6.6692 83135
0.3679 o g
06976 0.1333][2,
e
1898

=7.71e* -1691e*.




Click here to download a Matlab code for the numerical verification of the solution of this example. The code also exists under Matlab in the supplementary section. 

Example 4:

The figure shows a mass of 1 Kg on a smooth surface. The mass is initially moving with a velocity of 0.5 m/ s. Is it possible to find a force F(t) for [image: image270.jpg]


such that in 1 second the mass will move 1 m and attain a velocity of 1 m/ s? If yes find F(t) . If no explain why? 

[image: image271.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_17/Lecture_1728.jpg" \* MERGEFORMATINET [image: image272.jpg]Motion

Ay

Smoch Bufas




We first find the differential equation of motion. Use Newton’s second law

[image: image273.jpg]



Let the state variables of the system be the position and velocity of the mass, that is

[image: image274.jpg]rad x,





The state equation of the system can be written as (u = F )

[image: image275.jpg]



Let us now compute the controllability matrix and its determinant

[image: image276.jpg]Con=[B AB] :[[1' é]ﬁ det(Con) =-1




Therefore the system is controllable and we can solve the problem. Now, we find the state transition matrix

[image: image277.jpg]



The controllability gramian matrix is equal to

[image: image278.jpg]o f BBe*dr f[ ]”][n 1][i ?]dr




The inverse of the controllability gramian matrix is equal to

[image: image279.jpg]


.

Finally we compute the input which is the force F(f)
[image: image280.jpg]Ft) = Be® %007 [+ -y |

S ] 1

=Q-t 1][731]:173'




Block Diagrams and PID Controllers

At the beginning of this course we introduced block diagram representations for controlled physical processes. In this lecture we use the laplace transforms and transfer functions to represent a control system by a block diagram.

Assume we have a process with input u and output y . If the transfer function of the process is equal to P(s) , then we can write

[image: image281.jpg]Yis)
STy




The block diagram representation of this process is as follows:

[image: image282.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_21/block_1" \* MERGEFORMATINET [image: image283.jpg]eMortanicacom

As)





The output of the system is equal to

[image: image284.jpg]r(s)

P(5)U(S).




In practice different systems are interconnected. If each system is represented by a block then from the block diagram of the overall system we can determine the transfer functions from any signal (variable) to any other signal in the system.


Example 1: Consider the block diagram shown below. The system represented by the the transfer function C(s) has the input E(s) and the output U(s). The system represented by the the transfer function P(s) has the input U(s) and the output Y(s). We would like to find the transfer function from E to Y. In this case the input will be E and the output will be Y .

[image: image285.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_21/block_2" \* MERGEFORMATINET [image: image286.jpg]eMecranizacom

.





We have

[image: image287.jpg]



Therefore,

[image: image288.jpg]Y
%:P(x)(’(x) (Transfer Funstion)





In control applications we usually deal with processes, controllers, sensors, actuators, reference (or desired) signal sources. We will now give a block diagram representation of the overall control system. We will combine the actuator and process in one block. The following is the block diagram representation of a control system.

[image: image289.jpg]A

eMortanizacom

S5 |«







Let us find the transfer function T(s) of the above closed loop (feedback) system. This will be the transfer function from the input to the system R to the output of the system Y .

[image: image290.jpg]SMP=ENIT).
=P(5)C(s)ECs)
=PO)C(S)(R) =y (5))
=P(5)C(s)(R(s) = S()Y(5)).




Rearranging terms we get

[image: image291.jpg]SRR A E L )
Y6)_ POIC)
Rs) 1+ PE)CE)SE6)

=T()=






We next find the transfer function J(s) from R to E . We have

[image: image292.jpg]E(s) =R(s) -, (s)
=R(s) - S()Y (s)
=R -S5O [T R)]
P(5)C(s) ]
=R R

POCE)S() ]
:[1’1&(;)('(:)50) A

o ‘7]1«;)
1+ P(s)C (5)5(s),
E(X) 1

=70 = 2y " RO CEE






PID Controllers

In feedback control systems the controller takes the error signal (difference between the desired and measured signals) and processes it. The output of the controller is passed as an input to the process. One type of controller which is widely used in industrial applications is the PID (proportional integral derivative) controller. The proportional part of this controller multiplies the error by a constant. The integral part of the PID controller integrates the error. Finally the derivative part differentiates the error. The output of the controller is the sum of the previous three signals. We have

[image: image293.jpg]r de
ut) =K pet) + K,{e(r)dr+ Kag




where [image: image294.jpg]K, K; andK;



are the proportional, integral and derivative gains, respectively.
Take Laplace transform of each side of the above equation.

[image: image295.jpg]U6) =K, E0)+ ~LEQ) +KsE@)

.
gy U06) _Kps+ Kr+ Kys'
iyl KALKRE RS
=CO =25 n




[image: image296.jpg]eMecranizacom
PID Controller




C(s) is the transfer function of the PID controller.

Transfer Function Methods

In the previous lecture we showed how to obtain the transfer function of a closed loop system. In addition, we derived the transfer function of a PID controller. In this lecture we will discuss the response of a closed loop system, final value theorem and tracking problem.

We will deal with block diagrams of the form shown below. Comparing this diagram with the one given in the previous lecture we note that the sensor block S(s) is missing here. The closed loop system below is called a unity feedback system since S(s) = 1. In practice this can be easily achieved by adding an amplifier to the measurement system in order to make the measured and actual outputs equal in value. The units of two outputs will be usually different.

[image: image297.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_22/block_diagram" \* MERGEFORMATINET [image: image298.jpg]Sami Asthab

Unity Feedback





From the previous lecture the transfer function of the above closed loop (feedback) system is (with S(s) = 1):

[image: image299.jpg]L.
Ris) 1+ PC

I(s)




The transfer function from the input R to the error E is equal to

[image: image300.jpg]o
Ris) 1+ PC

7s)






Response of the closed loop system

If we know the input signal r(t), then the response of the system due to the input signal can be found as follows

[image: image301.jpg]SN Y (5)) = LHT(5)R(s)).





Examples of the input signal are given below

1. Unit step, [image: image302.jpg]rit)=1= R(s) =

T




2. Step, [image: image303.jpg]constant
T

r(t) =constant = R(s





3. Ramp, [image: image304.jpg](=5t = Re) =5 (55 constany




4. Sine signal, [image: image305.jpg]r(t) =asinat= R(s) =





We now state the final value theorem which will be needed in the discussion of the tracking problem.


Final Value Theorem

If F(s) is the Laplace transform of the function f(t) , then

[image: image306.jpg]im $F (5).

oy







Example 1: 
[image: image307.jpg]1

f=€* = Fo =

lim /() = llmE =0

lim 7 ) ~lim 7570

=0 =0

= lim /®) =1im 7 (5)

e g







Tracking Problem

Tracking means that the output follows the input (or reference) signal as time goes to infinity.
In order to check if tracking is achieved mathematically we follow one of the relations given below. 

[image: image308.jpg]lim ¥() =lim(*)

lim (7 -y(9) =0

lim (e(9) 0

lim (E(5)) =0 (Final value theorem)

o
lim (7 ©)R®) =0

=0

ljﬂ[xﬁk(r)l -0





Let us give an example that demonstrates the ideas of this lecture.


Example 2: Consider the following closed loop system.
[image: image309.jpg]




 INCLUDEPICTURE "http://homepage.mac.com/sami_ashhab/courses/control/lectures/lecture_22/block_diagram" \* MERGEFORMATINET [image: image310.jpg]Sami Asthab

Unity Feedback





Let 

[image: image311.jpg](PI controller).




(a) Find the response of the closed loop system, y(t) if 

[image: image312.jpg]K; =5Sandr(f)

(unit step).





What is the percent overshoot.
(b) Is tracking achieved in part (a)?
(c) Repeat part (a) with [image: image313.jpg](unit step).





(d) Repeat part (a) with [image: image314.jpg]K; =0andr(f)

(unit step).




In this case proportional control action only is used.
(e) Choose the proportional and integral gains that will produce a stable closed loop system, eliminate oscillations in the response when the input is a step function, and achieve tracking. 


Solution:

(a) We first find the transfer function of the closed loop system

[image: image315.jpg]T+ K)s+ K,




The roots of the denominator of the transfer function are -1+2j and -1-2j. The system is therefore stable (negative real parts) and there will be oscillations in the response (imaginary roots). Think of the denominator of the transfer function as det(sI-A). Now we find the output y(t)
[image: image316.jpg]eMrEERIad)
Kps+Kr 1
A+K)s+K; 5

545 545

TSeTe2e5) JGeted





Use partial fraction expansion

[image: image317.jpg]A B+ C
T e s
0S5 G+DE+a




It should be an easy exercise to find A, B, and C. We have

[image: image318.jpg]



The plot of the response of the system (y versus t ) is shown below. From the graph note that the maximum value of y is equal to 1.234 whereas the steady state (final) value of y is equal to 1. The overshoot is the quantity by which the output goes above its final value:

[image: image319.jpg]overshoot =maxy -jm ¥(t) =0.234.




The percent overshoot is equal to
[image: image320.jpg]maxy -lim Y0

percent overshoot =———==__*100%
Lim y®

34%




[image: image321.jpg]oscillations

0.8

Output

0.6

0.4

0.2

Solution of part (a)

maxy=1.234

overshoot = 0.234

Sami Ashhab





(b) There are two methods to check if tracking is achieved. The first method is to find the value of the output as time goes to infinity and see if the output approaches the input. The other method is to use the final value theorem as discussed in the tracking section above. We will solve this part using the two methods.

method 1:

[image: image322.jpg]lim ¥(®) =lim 1-¢" cos 21|




Therefore, tracking is achieved. Note that since the output y(t) was found in part (a) we could use it to find the value of the output as time goes to infinity.

method 2: Check if the error goes to zero as time goes to infinity. Using the final value theorem we have

[image: image323.jpg]limsE(s)
p)

=lims

S0 T+ PCs
=lim. k]
SOTrPC 04245

= lime(t) =0 (Final value theorem)




Therefore, tracking is achieved.

(c) We will repeat part (a) with the new values of proportional and integral gains

[image: image324.jpg]At ks 4546

T(s)m gt L _A40
FrU+K)i+K; 45546





The roots of the denominator of the transfer function are at -2 and -3. Therefore, the system is stable and no oscillations will be present in the response. Let us now find the response of the closed loop system when it is given a unit step function

[image: image325.jpg]is)=115)R0s)

_ 4546 1

T
4546 1

TEAD6e s

Ay B % (Partial fraction expansion).





It is an easy exercise to find the values of A, B, and C. We have

[image: image326.jpg]1

Y@=

AT

= () =1+ e 2




The output plot is shown below. Note that as time goes to infinity the output goes to the set point which is equal to 1. Therefore, tracking is achieved. Also note that there are no oscillations since all the roots of the transfer function were real. There is an overshoot due to the existence of two exponentials in the response.

[image: image327.jpg]Output

Solution of part (c)
14

1.2

overshoot with no oscillations

Sami Ashhab






(d) We will repeat part (a) with the new values of proportional and integral gains

[image: image328.jpg]Kps+ Ky

T(s) = 5——————
1 ST+ + Ky





The roots of the denominator of transfer function (characteristic polynomial) are at 0 and -2. This indicates that the system is unstable.

Let us now find the response of the closed loop system when it is given a unit step function

[image: image329.jpg]is)=115)R0s)
_ 1
Tiens
1
e
A B

=2+ _5_ (Partial fraction expansion).
0





It is an easy exercise to find the values of A and B. We have

[image: image330.jpg]5(1-€7).





The output plot is shown below. Note that as time goes to infinity the output goes to the 0.5 which is NOT equal to 1 (desired signal). Therefore, tracking is NOT achieved. In this case proportional control action alone is not enough to satisfy the objective of tracking.

[image: image331.jpg]Solution of part (d)
set point
1 S P S P P S S P
08r
= 06
5
o
5 final output value
o |
04
02r
Sami Ashhab
0 Il Il I Il I Il
0 1 2 3 4 5 6 7
Time





(e) The transfer function of the closed loop system is equal to (see above)

[image: image332.jpg]Kps+ Ky

T =g—F————
1 ST+ + Ky




For stability the denominator of the transfer function should have roots with negative real parts (Think of the denominator as det(sI-A)). For no oscillations the roots should be pure real (no imaginary part). In part (b) of this problem we gave values for the proportional and integral gains that will satisfy the conditions of part (e). As an exercise try to find other values of the proportional and integral gains that will satisfy the conditions of part (e). In addition, try to select values of the gains that will also eliminate the overshoot in the system.

Transfer Function Methods Example

` 

We will consider a practical example that demonstrate the ideas of transfer function methods. 

Example: Temperature Control

For the tank, fluid and heater process (that we studied earlier in this course) shown below, let

[image: image333.jpg]BRI
Tank

_— output
s Temperatre

eMechanica.com .‘m





the energy supplied by the heater = 20V Watt, where V is the input voltage,
the thermal capacitance of the fluid C = 60 Watt.s/ oC, and
the thermal resistance of tank R = 0.2 oC/ Watt.

We would like to control the temperature of fluid. It is required that the temperature tracks given desired constant reference signals. A suitable solution for such a problem is the use of PI controllers. In order to design a control system for the above process, we need to select a sensor for temperature measurement. We will choose a thermocouple that converts every 10 oC to 1 volt. This means that the measurement will be equal to 0.1T , where T is the fluid temperature. Let us apply the following steps in the design of a PI controller for the above process.

1. Modeling: Recall that the differential equation of the above thermal process is obtained using the heat balance equation and is written as (state space representation)

[image: image334.jpg]1 ol
Zaeiu

y=1,
where,

x=T-T, (T, ambient temperature)
o =V (input)




Note that we choose the state variable to be the temperature difference between the fluid temperature and ambient temperature. The reason for this is to obtain a linear state space representation for the system. By adding the value Ta to x we obtain T. For the purpose of simplifying the discussion, we will let Ta = 0, that is, x = T and y =x =T.

The transfer function of the process from the input voltage to the temperature is 

[image: image335.jpg]Fin

UG

P()=CGI-A7B+D





If the initial temperature and the input to the process are known one can solve for the time response of the temperature using the transfer function and the state space representation of the system. Note that when we deal with transfer functions, the initial condition is assumed to be equal to zero.


2. PI (proportional plus integral) control: We will now study the effect of connecting the above process to a PI controller in a closed loop (feedback) system. The sensor will be the thermocouple above. The block diagram of the closed loop system is drawn below

[image: image336.jpg]e=R-Tm

\ i orcr \
Y —Al
m

R
; T Py
FJed .
01
=0T mremocouple g
error = Desired - Measured
Reference Fluid, Tank
Temp PI Controlier andHealer  aqua
Herror e [T TR | yoftage v - Temp. T
-
v

Neasured Temp. Tm

01 e

Thermocouple






The transfer function of the closed loop system is found as

[image: image337.jpg]1255 + (1 +0.4k )5 +0.4k;




Note that the denominator of the transfer function depends on the controller parameters kp and ki that the control engineer selects based on certain requirements. The roots of the denominator are called poles. Negative poles produce stable system and imaginary roots cause oscillations in the response of the system. The response of the system depends on the poles. These poles depend in turn on the controller parameters. We conclude that it is important to select kp and ki carefully to design of a good control system.

As an exercise let us find the response of the system when the proportional gain is equal to 5, the integral gain is equal to 0 and the reference signal is equal to 5 volts. Note that in this case the controller becomes proportional since there is no integral action. We have

[image: image338.jpg]__ oo
2+

¥it) = CH¥(5)) =33.3(1 -2




As time goes to infinity the output temperature goes to 33.3. The measured temperature goes to 0.1*33.3 = 3.33 < r, where r = 5 (reference signal). Thus, tracking is not achieved with a P (proportional) controller. Let us test the tracking ability of the closed loop system with PI controller when the input reference signal is constant (r = a). We will use the final value theorem as discussed in the previous lecture.

[image: image339.jpg]&) _ri5y= 1 B S35 +1)
R(s) e A R rE G DT 04k, )s +0 4
25+1 s
Ro)-%
v

1imsE(s) =limsJ () RE) =lim @l ik, =0)

pacy =y 0 125° + (1+ D4k,)s + 0.4k,




The PI controller provides the tracking ability.

The denominator of the closed loop system transfer function T (s) is

[image: image340.jpg]125 +(1+04k,)s + 04k




The poles of the system are the roots of the denominator and are equal to

[image: image341.jpg]2

z
f1+04k,)
LTy





The poles are negative for all positive values of kp and ki . Therefore, the use of a PI controller produces a stable closed loop system. If the integral gain is equal to zero, one pole will be equal to zero and according to our stability definition, the system will be unstable.

Imaginary poles (roots) will occur if 

[image: image342.jpg](1+04k,)* -19.2k; <0




For example if kp = 5, then oscillations will occur if 

[image: image343.jpg]3) ~19.2; < 50
()" ~19.2k <0 ks > =





In summary, stability, tracking ability, and system response requirements are important factors in determining the controller parameters.

.

