METROLOGY AND MEASUREMENTS LAB MANUAL 
ME 2308

[image: image1.jpg]



V SEMESTER 

MECHANICAL ENGINEERING
RAJALAKSHMI ENGINEERING COLLEGE
THANDALAM, CHENNAI - 602 105
INDEX

	Ex. No
	Name of the Experiment
	Page No.

	CYCLE I

	1
	Calibration of precision measuring instruments like Vernier Caliper, Micro Meter and Dial Gauge
	3

	2.a.


	Measurement of dimensions of a given specimen using slip gauge
	5

	b.
	Checking of squareness of tri square using slip gauge
	6

	3.a.
	Measurement of gear parameters using gear tooth vernier
	8

	b.
	Measurement of fundamental dimensions of a gear specimen using contour projector
	10

	4
	Measurement of taper angle using profile projector
	11

	5.a.
	Measurement of bore diameter by two sphere method
	12

	b.
	Measurement of radii of curvature of curved specimens using cylindrical bars, depth gauge and vernier height gauge
	13

	6.a.
	Measurement of taper angle using sine bar and slip gauge
	15

	b.
	Measurement of angle using vernier bevel protractor
	17

	7
	Measurement of vibration parameters using vibration set up
	18

	CYCLE II

	8
	Measurement of displacement using LVDT
	20

	9
	Measurement of dimensions of a given specimen using Tool makers Microscope
	21

	10
	Measurement of straightness and flatness using two axis auto collimator
	22

	11
	Measurement of thread parameters using floating carriage micrometer
	24

	12
	Torque Measurement
	26

	13
	Force Measurement
	28

	14
	Temperature Measurement
	29


1. CALIBRATION OF PRECISION MEASURING INSTRUMENTS
Aim:
To study and calibrate the precision measuring instruments like Vernier caliper, Micrometer, and Dial gauge.

Apparatus Required:
Surface plate, Vernier caliper, Micrometer, Dial gauge, and Slip gauges.

Specification:

Vernier caliper

Range:


L. C:


Micrometer


Range:


L. C:


Dial gauge


Range:


L. C:

Study:
1.) Vernier caliper:


The Vernier caliper has one ‘L’ shaped frame with a fixed jaw on which Vernier scale is attached. The principle of Vernier is that when two scale divisions slightly different in sizes can be used to measure the length very accurately.


Least Count is the smallest length that can be measured accurately and is equal to the difference between a main scale division and a Vernier scale division.



LEAST COUNT = 1 Main scale division – 1 Vernier scale division

Uses:


It is used to measure the external diameter, the internal diameter and the length of the given specimen.

2.) Micrometer:


The micrometer has an accurate screw having about 10 to 20 threads/cm and revolves in a fixed nut. The end of the screw is one tip and the other is constructed by  a stationary anvil.



LEAST COUNT = Pitch scale division / Number of threads

Pitch scale division = Distance moved / number of rotation
Uses:


Outside micrometer is used to measure the diameter of solid cylinder.


Inside micrometer is used to measure the internal diameters of hollow cylinders and spheres.

3.) Dial gauge:


The dial gauge has got 2 hands. The short hand reads in mm. One complete revolution of long hand reads one mm. The plunger of the dial gauge has to be placed on the surface whose dimension has to be read. 



Least Count = One division of the circular scale with long hand.

Uses:


It is used as a mechanical comparator.

4.) Slip gauges: 


They are rectangular blocks hardened and carefully stabilized. The surfaces are highly polished to enhance wringing. It is used as a reference standard for transferring the dimensions of unit of length from primary standard. It is generally made up of high carbon, high chromium hardened steel.
Uses:


These are accurate and used as comparator.

5.) Surface plate:


The foundation of all geometric accuracy and indeed of all dimensional measurement in workshop is surface plate. It is a flat smooth surface sometimes with leveling screws at the bottom.
Uses:


It is used as a base in all measurements.

Procedure For Calibration:
1.) The range of the instruments is noted down.

2.) Within that range, slip gauges are selected.

3.) The measuring instrument is placed on the surface plate and set for zero and the slip gauges are placed one by one between the measuring points (jaws of the instruments.)

4.) The slip gauge (actual) readings and the corresponding (observed) readings in the measuring instruments are noted down and tabulated.

	S.No
	Slip Gauge Reading – (Actual)

In mm
	Precision Measuring Instruments Reading (Observedl) in mm

	
	
	Vernier Caliper
	Micro Meter
	Dial Gauge

	
	
	MSR (mm)
	VSR (div)
	TR (mm)
	Error (mm)
	PSR (mm)
	HSR (div)
	TR (mm)
	Error (mm)
	SHR (mm)
	LHR (div)
	TR (mm)
	Error (mm)

	1
	
	
	
	
	
	
	
	
	
	
	
	
	

	2
	
	
	
	
	
	
	
	
	
	
	
	
	

	.

.

10
	
	
	
	
	
	
	
	
	
	
	
	
	


Result:

The precision measuring instruments are studied and calibrated.

Calibration graphs are then drawn for all measuring instruments between

1.) Actual value and Observed value.

2.) Actual value and Absolute error.
2(a). MEASUREMENT OF  DIMENSIONS OF A GIVEN SPECIMEN  USING SLIP GAUGE

Aim:
          To Check the Various Dimensions of a Part Using Slip Gauge
Apparatus Required:
     .
           Surface Plate, Dial Gauge With Stand, Slip Gauge, Part(Specimen)  




Specification:











            Dial Gauge
:   Range:_______     L.C. 
:________mm
Procedure:
1. The part whose dimensions are to be measured is placed on the surface plate.

2. The spindle of the dial gauge is placed over the part and dial gauge is fixed on the stand such that the short and long handoff the dial gauge sows zero readings.

3. Then the part is removed and the slip gauges   are placed one over another on the surface plate below the spindle of the dial gauge until the hands of the dial gauge deflect from zero reading.
4. This ensures that the dimensions achieved by slip gauges and the part is same.

5. The required dimensions of the part is measured by finding out the total 

                 Height (Thickness) of the slip gauges.


6.  Trial readings are noted down for various initial setup levels of the dial gauge
                 On the stand.

Result:

The various dimensions of the given Part measured are:




A
: __________mm




B
: __________mm




C
: __________mm

    2(b). CHECKING THE SQUAREESS OF TRY SQUARE USING SLIP GAUGE


[image: image2.wmf]
Aim:


To test the square ness of the given try- square.

Instruments Required:

Surface plate, Angle plate, Try Square, Slip Gauge, Vernier Height Gauge

Specification: 

Try square        
:
0-15 Cm

Vernier Height Gauge
:
0-30 Cm

Least Count

:
0.02 mm

Formula:


Deviated angle from square ness







θ = tan-1
T2- T1








---------

in Degree









H2- H1 

Where, T1 & T2 are thickness of the slip gauges and bottom and top levels resp.in mm


H1 & H2 are the height level of the slip gauges and bottom and top levels resp.in mm

Procedure:

1. The given try square and angle plate are placed on the surface as shown. 

2. At both ends of angle plate, slip gauge are rung so that they project to equal thickness.

3. If try square is with square ness, then its vertical limp with co-line with both sets of slip gauges.

4. If there is any error in square ness, then vertical limp will not touch any one set of the slip gauge.

5. If so, then thickness of set slip gauges is increased/ decreased so that try square is perfectly aligned. 

6. Then thickness of slip gauge is measured t1 and t2.

7. The height level of the set of slip gauge are measured using Vernier height gauges h1 and h2.

8. This procedure is repeated for different height level of the set of slip gauge.

	Sl.no
	Thickness at top t1     (mm)
	Thickness at Bottom t2         (mm)
	Difference t2 - t1   (mm)
	Height of Bottom h1 (mm)
	Height of toph2 (mm)
	Difference h2 - h1    (mm)                            
	θ         in Deg

	1


	
	
	
	
	
	
	

	2
	
	
	
	
	
	
	

	3


	
	
	
	
	
	
	

	4


	
	
	
	
	
	
	

	5


	
	
	
	
	
	
	


Result:

Thus square ness of try square is tested.

3(a). MEASUREMENT OF GEAR PARAMETERS USING GEAR TOOTH VERNIER
Aim:

To measure gear parameter by gear tooth Vernier.

Apparatus required:

Gear tooth Vernier, Gear specimen.
Specification:


Gear tooth Vernier: Range = Horizontal =0-40 mm






Vertical = 0-20 mm






L.C
= 0.02 mm

Formula:


1.
W

=
NM sin (90/N)

2.
d

=
NM






---------


[image: image3.wmf])

/

90

cos(

/

2

1

N

N

-

+







   2

3.
m

=
D




        -------------





           (N+2)

Where
W = Chordal width of tooth in mm

D = Chordal addendum of gear in mm

M = Module of gear in mm


N = NO. Of teeth


D = out side Dia in gear in mm
Procedure:



1. The N, D of the given gear block are measured.



2. The module m’ it then calculated.



3. Theoretical values of ‘W’ and’d’ are computed.



4. Theoretical values of ‘W’ is set in horizontal Vernier scale of gear tooth Vernier and corresponding actual ‘d’ value scale.



5. Theoretical values of ‘c’ is set and ‘W’ is measured along 
 Horizontal scale.


6. This procedure is repeated for 5 teeth and value tabulated.
Outside Diameter of Gear
	TRIAL

	OUT SIDE DIAMETER ‘D’ mm

	1
	

	2
	

	3
	

	4
	

	5
	


Measurement of Addendum and Chordal Width
	Trial
	     Chordal addendum’ d’ mm
	             Chordal  width  ‘w’  mm

	
	Actual
	. Theoretical
	Actual
	Theoretical

	1


	
	
	
	

	2


	
	
	
	

	3


	
	
	
	

	4


	
	
	
	

	5


	
	
	
	

	6


	
	
	
	

	7


	
	
	
	


Result:

Thus the chordal thickness and addendum of gear are measured using gear tooth Vernier.

The actual values are W = 




D = 
3(b). MEASUREMENT OF FUNDAMENTAL DIMENSIONS OF A GEAR SPECIMEN USING CONTOUR PROJECTOR

Aim:

To measure the fundamental dimensions of a gear using contour (profile) projector.

Apparatus Required:
· Contour projector
· Gear specimen
· Vernier caliper.
Specifications:

Contour projector:
Magnification accuracy for contour = ± 0.1 %





Micrometer head: 0 – 25 mm. 
L.C: 0.01mm.





Contour illuminator: 150/250 W Halogen.





Magnification: 10X, 20X, 50X lenses.


Vernier caliper:
Range:

L.C:

Formulae:

m = D/ (N+2) in mm

Where,

m = module of fear in mm.



D = outside diameter in mm.



N = No. of teeth.



dp = pitch circle diameter.



Addendum = 1m.



Dp = (D/2) – Addendum.

procedure:
1. The required magnification adapter is fixed in the contour projector.

2. The gear (specimen) is placed on the glass plate perfectly perpendicular to the lens tube and perfectly focused on the screen.

3. The illumination can be improved by adjusting the height of the condenser lens by shifting the knurled knob with provided at the lamp assembly with a helical cut.

4. The profile (contour) of the gear specimen is traced on a tracing paper fixed on the screen using pencil.

5. Then the addendum and the pitch circle are marked on the image using the theoretical values.

6. Again, the image is fixed on the screen and the other dimensions are measured using the table micrometers fixed on the table on the contour projector.

Result:

The measured gear parameters using contour projector are:

Addendum = ______ mm



Pitch = ________mm

Dedendum = ______ mm



Major Dia = _______mm

Chordal width = ______mm



Minor Dia = ________mm

Pitch circle Dia = ______mm.
4. MEASURMENT OF TAPER ANGLE USING PROFILE PROJECTOR

Aim:


To measure taper angle and other dimension of a given flat specimen using profile projector. 

Apparatus required:


Contour projector and flat specimen.

Specification:


Contour projector magnification accuracy
=
±0.1%





Micrometer Head 
=
0-25 mm
L.C=0.1 mm





Colour illuminator
=
150/250 W Halogen





Magnification

=
10x, 20x, 50x lenses

Procedure:

1. The required Magnification adapter is fixed in the center projector.

2. The flat specimen is placed on the glass plate and perfectly focused on the screen.

3. The profile of specimen is traced on a tracing paper is fixed on the screen using pencil.

4. Then the angle between the two reference surface and dimension are measured using table micrometer and the Rota table screen circular scale and are tabulated  

	Sl.no
	Angle
	Circular Scale reading
	Taper Angle Deg
	Side
	Table Micrometer reading
	Dimension mm

	
	
	Initial
	Final
	
	
	Initial
	Final
	

	1
	α
	
	
	
	A
	
	
	

	2
	β
	
	
	
	B
	
	
	

	3
	γ
	
	
	
	C
	
	
	


Result: 

Thus the taper angle and other dimension of the given flat specimen is measured

5(a). MEASUREMENT OF BORE DIAMETER BY TWO SPHERES METHOD
Aim:

To measure the bore diameter using two spheres.

Apparatus Required:
· Spheres
· Height gauge
Specifications:

Height gauge:


Range:______mm
L.C:______mm

Formula:

Bore diameter db = (d1+d2)/2 + {h (d1+d2)-h2}1/2

Where d1= diameter of sphere 1

d2= diameter of sphere 2

h = height from the surface plate to top point of the upper sphere.

Procedure:

1. Here we use two spheres of same or different diameter d1 and d2.

2. The two spheres are placed inside the given bore so that one sphere stands above the other and the contact between the bore and the sphere are also ensured.

3. The height ‘h’ from the surface plate level to the top point of higher sphere is measured by using height gauge.
4. The bore diameter is calculated by using the above formula.

5. Do a model calculation for the calculation for bore diameter.

Diameter of sphere 1:--



Diameter of sphere 2:--
	Sl.no
	Vernier caliper Reading

	1
	

	2
	

	3
	

	Sl.no
	Vernier caliper Reading

	1
	

	2
	

	3
	


Measurement of Bore diameter:
	Sl.no
	Vernier Height Gauge reading (mm)
	Bore diameter

	1
	
	

	2
	
	

	3
	
	


Result:


Thus the bore diameter is measured by using two spheres.


The bore diameter of the given specimen is __________mm.

5(b). MEASUREMENT OF RADIUS OF CURVATURE OF CURVED SPECIMEN 
Aim:


To determine radius of curvature of curved specimen  cylindrical bars, depth gauge and vernier height gauge.
Apparatus Required:


Vernier Caliper, circular surface, concave surface, blunt corner, Supporting press, Height gauge, Depth gauge, Depth Micrometer, Circular rod.

Formula:


1. for circular surface:



R
=
(l - d)2




-----------




    8d

Where,

d 
=
diameter of circular rod


l
=
length of disc between 2 rods.

Radius of curvature of circular surface:

	Sl.no
	Dimension
	Vernier Caliper Reading (mm)

	1
	Diameter (d)
	

	2
	Length     (l) 


	


2. For blunt surface:
Where, R
=   Radius of curvature of blunt surface.

H
=    height of blunt surface plate


d
=   diameter of circular rod


H
=   height of blunt surface with rod.
Radius of curvature of blunt surface:

	Sl.no
	Dimension
	  MSR  mm
	        VSR   mm
	Total Reading(mm)

	1
	Height (H)


	
	
	

	2
	Height (h)


	
	
	

	3
	Dia of circular rod
	
	
	


3.For curved surface:
Where, R
=   Radius of curvature of concave surface

d
=   diameter of circular rod

h
=    depth micrometer reading.

Radius of curvature of concave surface:

	Sl.no
	Dimension
	  MSR       mm
	        VSR      mm
	Total Reading(mm)

	1
	Height      (H)


	
	
	

	2
	Dimension (d)


	
	
	


Procedure:
1. For circular surface is taken and required setup in the arranged.

2. The diameter of roller is  measured using Vernier caliper and length ‘l’ measured

3. Similarly, the blunt surface is also setup as show and required valve of height of the blunt surface ‘h’ height ‘H’and the radius of blunt surface ‘R’is also noted.
4. The curved surface is arranged as show and diametrer’d’ is measured using Vernier caliper and the height ‘h’ measured using micrometer

Result:

The radius of curvature for the following specimen is found.
6(a). TAPER ANGLE MEASUREMENT USING SINE BAR AND SLIP GAUGE

Aim:

To measure the taper angle of the given specimen using sine bar

Apparatus Required:


Surface plate, Dial gauge with stand, Sine bar, Slip gauge, Bevel protractor & specimen.

Specification:

Sine bar
:
Range:

Formula:

Taper angle    ‘θ’
= Sin-1 (h/l) in degrees

Where,


h
= the total height (thickness) of the slip gauges in mm




l
= the standard length of the sine bar in mm = 200mm

Procedure:
1. The taper angle of the specimen is first found out approximately with the help of a bevel protractor.

2. The sine bar is set at this angle on the surface plate with the help of the slip gauges as shown in the figure.

3. The specimen is placed on the sine bar so that its top taper surface is parallel to the surface plate.

4. The parallelism is checked and adjusted by increasing or decreasing the height level of the slip gauges, so that there should be no deflection in the long hand of the digital gauge when the spindle of the dial gauge is moved over the specimen surface.

5. The total height (thickness) of the slip gauges is noted down.

6. Trial readings are taken by placing the specimen at different points of the sine bar surface.

For Small Specimen:
	Trial
	Total height of the slip gauge Reading (mm)

	1
	


For Large Specimen:
	Trial
	h 1      (mm)
	h 2      (mm)
	h 2- h 1                      (mm)

	1
	
	
	

	2
	
	
	

	3
	
	
	


Result:

The taper angle of the given specimen is



a. Using bevel protractor
=_________________________ degrees



b. Using sine bar

=_________________________ degrees

6(b). MEASUREMENT OF ANGLE USING VERNIER BEVEL PROTRACTOR
Aim:


To measure the  angles of given specimen using bevel protractor.
Apparatus Required:



Surface Plate, Dial Gauge, Slip Gauge, Bevel protractor, specimen
Procedure:
1. Initially bevel protractor is adjusted as per requirements.

2. Specimen is placed between the blades.

3. Reading noted directly from main scale and Vernier scale

4. For measuring, taper angle of sine bar, protractor is fixed to height gauge.

5. The protractor is corresponding adjusted.

6. Noted reading is tabulated.

Result:

Thus  angle of given specimens was determined.
7.  MEASUREMENT OF VIBRATION PARAMETERS USING VIBRATION SET UP
Aim:


To study the various parameters involved in the vibrations of a given system.


To plot the characteristic curves of the given specimen

Apparatus Required:


Vibration exciter


Vibration pick-up


Vibration analyzer


Power amplifier


Oscillator

Description:

The mechanical vibration, if not within limits may cause damage to the materials, structures associated with it.


Vibration exciter is an electrodynamic device. It consists of a powerful magnet placed centrally surrounding which is suspended the exciter coil. This assembly is enclosed by a high permeability magnetic circuit.


When an electrical current is passed through the exciter coil, a magnetic field is created around the coil resulting in the upward or downward movement of the suspended coil depending upon the direction of the current flow in the coil. Thus controlling the frequency of the coil current, the frequency of vibration is controlled.


Power amplifier is the control unit for the exciter.


Piezo – electric crystals produce an emf when they are deformed. This output emf may be measured to know the value of applied force and hence the pressure.


A piezo – electric material is one in which an electric potential appears across certain surfaces of a crystal of the dimensions of the crystal are charged by the application of a mechanical force. The effect is reversible.


Common piezo – electric materials include quartz, Rochelle salt, lithium sulphate etc.,

Caution:


Do not remove the fuse cap while power chord is connected to 230V AC mains

Procedure:

1. Connect power amplifier output to vibration exciter.

2. Place the vibration pick up on vibration exciter spindle.

3. Connect vibration pick up cable to vibration analyzer sensor socket.

4. select the range 0-100 by two way switch. 

5. Note down the displacement, velocity and acceleration from vibration analyzer.

6. Similarly noted above parameters in frequency range of 0-1000 Hz.

	S.No
	Frequency (Hz)
	Displacement (mm)
	Velocity (cm/sec)
	Acceleration (m/sec2)

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	

	6
	
	
	
	

	7
	
	
	
	

	8
	
	
	
	

	9
	
	
	
	

	10
	
	
	
	


Result:


Various parameters of vibration such as displacement, velocity and acceleration are studied and the following characteristic curves were plotted.

1. Displacement Vs Frequency

2. Velocity Vs Frequency

3. Acceleration Vs Frequency
                   8. MEASUREMENT OF DISPLACEMENT USING LVDT

Aim:
                  To measure the displacement using LVDT.

Apparatus Required:
1. LVDT

2. Micrometer

Procedure:

1. Plug the power chard to AC main 230v/50Hx & Switch on the instrument.

2. Plate RED/CAL switch at read position.

3. Balance the amplifier with the help of zero knobs. Without connecting LVDT to instruments.

4. Replace the RED/CAL switch at CAL position.

5. Adjust the calibration point by rotating CAL knob so display should read 10.00 (i.e.) maximum ranges.

6. Again keep the RED/CAL switch at read position and connect the LVDT cable to instruments.

7. Mechanical zero by rotating the micrometer. Display will read zero this is full balancing.

8. Give displacement with micrometer and observe the digital reading.

9. Plot the graph of micrometer reading.

	Sl.no
	Push side
	Pull Side

	
	Micrometer Reading (mm)
	Indicated Reading (mm)
	Micrometer Reading (mm)
	Indicated Reading (mm)

	1

	
	
	
	

	2

	
	
	
	

	3

	
	
	
	

	4

	
	
	
	

	5

	
	
	
	


Result:
       Thus displacement has been measured using LVDT.
Graph: 


Indicated reading Vs Micrometer reading
            9. MEASUREMENT OF DIMENTION OF GIVEN SPECIMEN USING                   

                                           TOOL MAKER’S MICROSCOPE

Aim:
                 To measure various dimension of a given specimen using Tool maker’s microscope.

Apparatus Required:
                 Tool maker’s microscope, Specimen, Eyepiece.

Procedure:
1. To find the Major and Minor diameter:

                One end of screw thread in made to coincide with cross wire & fixed.  Reading is taken. The different between readings given linear measurement.                

2. Measurement of pitch:

                  The contour is get so that the same it an screen. The reading of micrometer is noted. The reading of are subtracted & different is noted.  

3. Measurement of thread angle:

                 The screw is rotated till linear cross wire coincides with flank of thread profile. The angle of screw rotation and than the same line coincides with flank thread.

Result:
              The various parameters of the given specimen are measured.

10. MEASUREMENT OF STRAIGHTNESS AND FLATNESS USING                                   TWO AXIS AUTO COLLIMATOR

Aim:


To measure the straightness and Flatness given specimen using two axis auto collimator.
Apparatus required:
Collimator unit, Base, plain reflector, optical Scanner
Procedure:
1. Testing square with auto collimator.

2. Level auto collimator unit on a stand a table.

3. Straighten the light.
4. Observe measuring graphical through the eye below.

5. The smallest discussion of linear scale is measured.

6. Bring plain reflector in front of the auto collimator to get reflector.

7. Depending upon the verification in surface.

8. Using micrometer provided for eye piece we can measure the frequency up in lose.

Formulae:
Deviation = Sin θ (A-B)
Where angle θ in rad & Distance A-B in mm
Parallel to the Axis: 
	Sl.no
	Distance from ref  A-B  ( mm)
	MSR

(Min)  
	Micrometer
(Sec)
	Result - θ
degree
	Deviations
(mm)

	1
	
	
	
	
	

	2
	
	
	
	
	

	3
	
	
	
	
	

	4
	
	
	
	
	

	5
	
	
	
	
	

	6
	
	
	
	
	


Perpendicular to the Axis: 

	Sl.no
	Distance from ref  A-B  ( mm)
	MSR

(Min)  
	Micrometer
(Sec)
	Result - θ
Degree
	Deviations
(mm)

	1
	
	
	
	
	

	2
	
	
	
	
	

	3
	
	
	
	
	

	4
	
	
	
	
	

	5
	
	
	
	
	

	6
	
	
	
	
	


Result:

Thus the straightness and Flatness are determined using autocollimator.
Graph:

Deviation  Vs Distance from reference 
11. MEASUREMENT OF THREAD PARAMETERS BY USING

       

     FLOATING CARRIAGE MICROMETER

Aim:
             To measure the major diameter, minor diameter & Effective diameter by using floating carriage micrometer.

Apparatus Required:
1. Floating carriage micrometer.

2. Specimen

3. Prism

4. Wire

5. Cylinder.

Formula:
(A) Major Diameter Measurement:

                                     OD = D+ (RS ~ R)

                          Where D = Diameter of setting master.

                                     RS = Micro meter reading over setting master.

                                     R = = Micro meter reading over threaded W/P or gauges.

                                     + Or – is determined by relative size of master & work piece.      

(B) Minor Diameter Measurement:

                                     ID = D- (R ~ RO)

                          Where D = Diameter of setting master.

                                     C = Core or minor diameter of work piece.

                                     RP = Reading over master & prism

                                     R = Reading over master & prism.

                      (E) Measurement of effective diameter by using 2 wire method:

                            E = T+P

                             T= D+ (RW ~ ROW)

               Where   E = Effective or pitch diameter.

                             T = Measured dimension using cylinder.

                             RW= Reading measured over setting master with wire.

                             ROW= Reading measured over work piece over wire.


P = (0.86603 * p) – W

W =Mean diameter of cylinder wire used = 1.35 mm
                             p = Pitch of thread = 2 mm
Procedure:
1. The setting master is held b/w center and taken the reading at the diameter  say RS

2. The master cylinder is then replaced by a threaded work piece and R is taken.

3. Take the reading on micrometer and indicator in such a way that radius portion of prism touches master.

4. The cylinder or wire should be chosen so that when placed b/w the threads, they should contact about halfway down the flanks.

Result:

                 Thus, the thread parameters of a screw thread are measured using floating carriage micrometer.            

12. TORQUE MEASUREMENT

  Aim:
              To measure the torque using shear type load cell.

Apparatus Required:
1. Torque measurement equipment

2. Stand

3. lever

4. stain gauge

5. Weight.

Formula Used:
                  Calculated Torque = Load x Distance (kg-m)      

Description:
                Torque is the tangential force to set a body in rotation. It is represented as a vector of a force for a rigged body undergoing force rotation about a single axis.

                Torque = DX,

                D = Moment of inertia of body about the axis.

                X = Angular acceleration.

               Thus torque is the essential tensional twisting about its axis of rotation. In this setup shear type load is used to measure the torque a inverse method of measuring the load with the output immune to side load and bending moment is based on measurement of shear components. The load cell is balancing a beam supported on both ends.

Procedure: 
1. Fix the main frame of transducers rigidity.

2. Connect the cantilever beam with weight pan.

3. Connect transducer wire socket to rear side of indicator.

4. Connect digital indicator at 230V, AC supply.

5.  Set zero on indicator, by zero adjust pan provides indicator.

6. Now apply the load gradually and note down reading in upward & downward trend. 

Distance: 1 meter
	Sl.no
	Weight added (Kg)
	Observed torque  (Kg-m)
	Calculated Torque  (Kg-m)

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	6
	
	
	

	7
	
	
	

	8
	
	
	

	9
	
	
	

	10
	
	
	


Distance: 0.5 meter
	Sl.no
	Weight added (Kg)
	Observed torque  (Kg-m)
	Calculated Torque  (Kg-m)

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	6
	
	
	

	7
	
	
	

	8
	
	
	

	9
	
	
	

	10
	
	
	


Model Calculation:

                      Calculated Torque =Load x Distance (kg-m)

Result:
                   Thus measurement of torque using shear type load cell has been carried out.
Graph:



Observed torque Vs Calculated torque
13. FORCE MEASUREMENT

 Aim:
               To measure the force using load cell.

Apparatus Required:
1. Proving Ring

2. Load cell

3. Force indicator

4. screw jack

5. Dial gauge.

               Capacity of proving Ring =2.5 KN.

Description:
               Force is one of the major derived parameter having fundamental dimension of                                mass length and time. It is a vector quantity which, when applied result in a change of momentum in a body. Basically mechanical force is created due to variation of started potential energy.

              This is different types of load cell like column type, shear type, s-type, and compression type. In this setup, s-type load cell is provided.

Procedure:
            * Ensure that proving ring along with load all is perfectly in vertical position.

              * Check and ensure that the axis of screw jacks perfectly aligned with load cell.

              * Ensure that load cell with socket is connected to the rear side of the load indicator.

              * Apply a small load without any slip in the system.

              * Note down the reading of dial gauge of force indicator.

	Sl.no
	   Actual load applied (kg)
	             Deflection (div)

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	

	9
	
	

	10
	
	


1 division = 0.002mm            

Result:
                Thus the force measurement has been measured using load cell.

Graph: Deflection Vs Applied load
                                        14. TEMPERATURE MEASUREMENT

Aim:

          To measure the temperature using copper constantan thermo couple.

  Apparatus Required:

1. Thermo couple

2. Temperature measuring setup.

3. Ice cubes.

Procedure: 

          1. Connect the thermocouple supplied at the impute terminal if copper constantan 

Thermocouple is used.

         Copper wire must be connected to the terminal and constantan wire to –ve terminal.

          2. Immerse the junction of thermocouple in ice and adjust the meter reading at 0° C using potentiometer.

       3. Immerse the junction of thermocouple in boiling at 98° C by using potentiometer marked max.

       4. Repeat the procedure for 2 to 3 times.

	Sl.no
	Actual temperature C°
	  Indicated temperature C°

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	

	9
	
	

	10
	
	


Result:

                    Thus the temperature is measured using thermocouple.
Graph:


Indicated Temperature Vs Actual Temperature
PAGE  
10

_1363068876.unknown

_1363076060.unknown

